Invitation to Quote (ITQ) – Procurement of laboratory equipment for veterinary and phytosanitary inspection for Border Inspection Point Bar

No: MNE-MIDAS-7716-ME-SH-G-14-2.3.7.1

Project Title:	Montenegro Institutional Development and Agricultural Strengthening Project - MIDAS

Date: December 08, 2014

Source of Funding: Loan No 7716 – ME

Contract Ref: MNE-MIDAS-7716-ME-SH-G-14-2.3.7.1

To:

Dear Supplier,

1.	You are invited to submit your price quotation(s) for the supply of the following items:

Lot#1

Laboratory equipment for veterinary inspection

| No | Description | Quantity |
| --- | --- | --- |
| 1. | Sample taking containers | 4 sets |
| 2. | Meat inspection knives | 2 sets of 3 pieces |
| 3. | Tin opener | 1 pcs |
| 4. | Technical balance | 1 pcs |
| 5. | Meat cutting saw(s) | 2 pcs |
| 6. | Drill | 1 pcs |
| 7. | Stainless steel bench | 1 pcs |
| 8. | pH meter | 1 pcs |
| 9. | Microwave heater | 1 pcs |
| 10. | Refrigerator/freezer | 2 pcs |
| 11. | Thawing equipment | 1 pcs |
| 12. | Seals (metal, plastic) | 1 pcs |
| 13. | Laboratory autoclave | 1 pcs |
| 14. | Bench | 1 pcs |
| 15. | Halogen reflector | 1 pcs |
| 17. | Sterile cups and bags | 1 pcs |
| 18. | Forklift | 1 pcs |
| 19. | Laboratory burner | 1 pcs |
| 20. | Refrigerated transportation boxes | 2 pcs |
| 21. | Cutting board | 4 pcs |
| 22. | Hot water high pressure cleaner | 1 pcs |
| 23. | Infrared thermometer with external probe | 1 pcs |

Lot#2

Laboratory equipment for phytosanitary inspection

| No | Description | Quantity |
| --- | --- | --- |
| 1. | USB microscope | 1 pcs |
| 2. | Lamps with light to enlarge (to zoom in) (magnifier lamps) | 1 pcs |
| 3. | A small digital scale | 1 pcs |
| 4. | Manual plastic calibrator | 2 pcs |
| 5. | Moisture meter | 1 pcs |
| 6. | Microscope | 1 pcs |
| 7. | Binocular | 1 pcs |
| 8. | Digital floor scale and Ramp | 1 pcs |
| 9. | Laboratory mill | 1 pcs |
| 10. | Equipment for sampling and detection of mycotoxins (aflatoxin) | 1 pcs |
| 11. | Laboratory equipment | 1 set |
| 12. | Hand Veneer Box | 1 pcs |
| 13. | Double knife for opening packages | 1 pcs |
| 14. | Probes for sampling of grain from trucks or wagons | 3x1 pcs |
| 15. | Divisor of samples Control sieve for corn | 3x1 pcs |

Information on technical specifications and required quantities are attached in Attachment 1 “Technical Specification”

2.	You may quote for one or both Lots under this invitation. Each Lot shall be evaluated and contract awarded separately to the Bidder(s) offering the lowest evaluated price for each Lot. You must quote for all items under the Lot (prices quoted shall correspond to 100% of the list of items required, and to 100% of the quantities specified for each item; partial quotations under the Lot are not acceptable).

3.	Your price quotation in the form attached may be submitted by hand, mail, facsimile or electronically at the below address (para 7).

4.        The deadline for receipt of your quotation (s) by the Purchaser at the addressed indicated in this paragraph: December 22, 2014 at 17:00 local time.

5.	Your quotation in duplicate and in English, should be accompanied by adequate technical documentation and catalogue(s) and other printed material or pertinent information for each item quoted, including names and addresses of firms providing service facilities in Montenegro.

6.	Your quotation(s) should be submitted as per the following instructions and in accordance with the attached Contract. The attached Terms and Conditions of Supply is an integral part of the Contract.

(i) PRICES:  The prices should be quoted in EUR for the Total Cost at final destination for Border Inspection Point for veterinary and phitosanitary products-Bar, Montenegro, which includes all taxes, VAT, customs, duties, inland transportation and insurance, loading and unloading.

(ii) EVALUATION OF QUOTATIONS:  Offers determined to be substantially responsive to the technical specifications will be evaluated by comparison of the total price at final destination as per para. 2 above.

In evaluating the quotations, the Purchaser will determine for each bid the evaluated price by adjusting the price quotation by making any correction for any arithmetical errors as follows:

(a) where there is a discrepancy between amounts in figures and in words, the amount in words will govern;

(b) where is a discrepancy between the unit rate and the line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern;

(c) if a Supplier refuses to accept the correction, his quotation will be rejected.

(iii) AWARD OF PURCHASE ORDER:  The award will be made to the bidder offering the lowest evaluated price and that meets the required standards of technical and financial capabilities.  The successful bidder will sign a Contract as per attached form of contract and terms and conditions of supply.

(iv) VALIDITY OF THE OFFER: Your quotation(s) should be valid for a period of forty five (45) days from the deadline for receipt of quotation(s) indicated in Paragraph 5 of this Invitation to Quote.

7.	Further information can be obtained from address below:

Address: Ministry of Finance-Technical Service Unit,

Jovana Tomaševića, bb (Stara zgrada Vlade),

Office 48, Ground floor

Telephone: +382 20 201 695 
Fax: +382 20 201 698

E-mail: mirko.ljesevic@mif.gov.me

Inspections and Audits

8.1	The Supplier shall carry out all instructions of the Purchaser which comply with the applicable laws where the destination is located.

8.2	 The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 5 Fraud and Corruption of the Form of Contract, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).

Sincerely,

Mirko Ljesevic,

Procurement Officer

TSU

FORM OF CONTRACT

THIS AGREEMENT number MNE-MIDAS-7716-SH-G-14-2.3.7.1. made on _________, ___ 2014, between Ministry of Agriculture and Rural Development, Rimski trg 46, PC Vektra, 81000 Podgorica, Montenegro, represented by Prof.dr. Petar Ivanović, Minister, (hereinafter called “the Purchaser”), on the one part and  ____________  (hereinafter called “the Supplier”) on the other part.

WHEREAS the Purchaser has invited quotation for Procurement of laboratory equipment for veterinary and phytosanitary inspection for Border Inspection Point Bar to be supplied by Supplier, viz. Contract MNE-MIDAS-7716-SH-G-14-2.3.7.1., (hereinafter called “Contract”) and has accepted the Bid by the Supplier for the supply of goods under Contract at the sum of __________ (___________________________) hereinafter called “the Contract Price”.

NOW THIS AGREEMENT witnessethes as follows:

- The following documents shall be deemed to form and be read and construed as part of this agreement, viz:

- Invitation to Quote; Term and Conditions of Supply, Technical Specification;

- Addendum (if applicable);

- Taking into account payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby concludes an Agreement with the Purchaser to execute and complete the supply of Contract and remedy any defects therein in conformity with the provisions of Contract.

- The Purchaser hereby covenants to pay in consideration of the goods supply and acceptance of Contract and remedying of defects therein, the Contract Price in accordance with Payment Conditions prescribed by Contract.

- Termination

4.1 Termination for Default

### The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate the Contract in whole or in part:

#### if the Supplier fails to deliver any or all of the Goods within the period specified in the Contract, or within any extension thereof granted.

#### if the Supplier fails to perform any other obligation under the Contract; or

#### if the Supplier, in the judgment of the Purchaser has engaged in fraud and corruption, as defined in Clause 5 below, in competing for or in executing the Contract.

(b)	 In the event the Purchaser terminates the Contract in whole or in part, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Related Services similar to those undelivered or not performed and the Supplier shall be liable to the Purchaser for any additional costs for such similar Goods or Related Services.  However, the Supplier shall continue performance of the Contract to the extent not terminated.

4.2	Termination for Insolvency.

### The Purchaser may at any time terminate the Contract by giving notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent.  In such event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy that has accrued or will accrue thereafter to the Purchaser.

4.3	Termination for Convenience.

### The Purchaser, by notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience.  The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.

### The Goods that are complete and ready for shipment within twenty-eight (28) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices.  For the remaining Goods, the Purchaser may elect:

#### to have any portion completed and delivered at the Contract terms and prices; and/or

      - to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Related Services and for materials and parts previously procured by the Supplier

Fraud and Corruption

- If the Purchaser determines that the Supplier and/or any of its personnel, or its agents, or its Subcontractors, consultants, service providers, suppliers and/or their employees has engaged in corrupt, fraudulent, collusive, coercive or obstructive practices (as defined in the prevailing Bank’s sanctions procedures), in competing for or in executing the Contract, then the Purchaser may, after giving 14 days notice to the Supplier, terminate the Supplier's employment under the Contract and cancel the contract, and the provisions of Clause 4 shall apply as if such expulsion had been made under Sub-Clause 4.1.

- Inspections and Audits

6.1 The Supplier shall carry out all instructions of the Purchaser which comply with the applicable laws where the destination is located

The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 5 Fraud and Corruption, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).

| Signature and seal of the Suppler: FOR AND ON BEHALF OF ____________________________ Name of Authorized Representative | Signature and seal of the Purchaser: FOR AND ON BEHALF OF ### Ministry of Agriculture and Rural Development ___________________________ Prof.dr. Petar Ivanović, Minister |
| --- | --- |

FORM OF QUOTATION

Date:

To: Ministry of Finance

Technical Service Unit

ul. Jovana Tomaševića bb

81000 Podgorica

e-mail: mirko.ljesevic@mif.gov.me

Telephone: +382 20 201 695

Fax: +382 20 201 698

We offer to execute the Procurement of laboratory equipment for veterinary and phytosanitary inspection for Border Inspection Point Bar, MNE-MIDAS-7716-SH-G-14-2.3.7.1. in accordance with the Conditions of Contract accompanying this Quotation for:

Lot#1

for the Contract Price of _________________________(amount in words and numbers) (______________) (name of currency)_____________.  We propose to complete the delivery of Goods described in the Contract within a period of ___________________calendar days from the Date of Signing of the Contract.

Lot#2

for the Contract Price of _________________________(amount in words and numbers) (______________) (name of currency)_____________.  We propose to complete the delivery of Goods described in the Contract within a period of ___________________calendar days from the Date of Signing of the Contract.

This Quotations and your written acceptance will constitute a binding Contract between us.  We understand that you are not bound to accept the lowest or any Quotation you receive.

We hereby confirm that this Quotation complies with the Validity of the Quotation required by the proposal documents.

Authorized Signature:

Name and Title of Signatory

Name of Supplier:

Address:

Phone Number:

Fax Number

Terms and Conditions of Supply

Project Name: Montenegro Institutional Development and Agricultural Strengthening Project - MIDAS

Purchaser: Ministry of Agriculture and Rural Development

Consignee: Inspection Directorate

- Prices and Schedules for Supply

Lot#1

Laboratory equipment for veterinary inspection

| Item No. | Description of Goods | Quantity | Unit Price (includes all taxes, VAT, customs, duties, inland transportation and insurance) (EUR) | Total Price at final destination (includes all taxes, VAT, customs, duties, inland transportation and insurance) (EUR) | Offered Delivery Date |
| --- | --- | --- | --- | --- | --- |
| a | b | c | d | e=c*d | f |
| 1. | Sample taking containers | 4 sets |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 2. | Meat inspection knives | 2 sets of 3 pieces |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 3. | Tin opener | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 4. | Technical balance | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 5. | Meat cutting saw(s) | 2 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 6. | Drill | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 7. | Stainless steel bench | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 8. | pH meter | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 9. | Microwave heater | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 10. | Refrigerator/freezer | 2 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 11. | Thawing equipment | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 12. | Seals (metal, plastic) | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 13. | Laboratory autoclave | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 14. | Bench | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 15. | Halogen reflector | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 17. | Sterile cups and bags | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 18. | Forklift | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 19. | Laboratory burner | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 20. | Refrigerated transportation boxes | 2 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 21. | Cutting board | 4 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 22. | Hot water high pressure cleaner | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 23 | Infrared thermometer with external probe | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| TOTAL PRICE: |  |  |  |  |  |

Lot#2

Laboratory equipment for phytosanitary inspection

| Item No. | Description of Goods | Quantity | Unit Price (includes all taxes, VAT, customs, duties, inland transportation and insurance) (EUR) | Total Price at final destination (includes all taxes, VAT, customs, duties, inland transportation and insurance) (EUR) | Offered Delivery Date |
| --- | --- | --- | --- | --- | --- |
| a | b | c | d | e=c*d | f |
| 1. | USB microscope | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 2. | Lamps with light to enlarge (to zoom in) (magnifier lamps) | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 3. | A small digital scale | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 4. | Manual plastic calibrator | 2 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 5. | Moisture meter | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 6. | Microscope | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 7. | Binocular | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 8. | Digital floor scale and Ramp | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 9. | Laboratory mill | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 10. | Equipment for sampling and detection of mycotoxins (aflatoxin) | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 11. | Laboratory equipment | 1 set |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 12. | Hand Veneer Box | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 13. | Double knife for opening packages | 1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 14. | Probes for sampling of grain from trucks or wagons | 3x1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| 15. | Divisor of samples Control sieve for corn | 3x1 pcs |  |  | [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| TOTAL PRICE: |  |  |  |  |  |

Note: In case of discrepancy between unit price and total derived from unit price, the unit price shall prevail.

- Fixed Price:  The prices indicated above are firm and fixed and not subject to any adjustment during contract performance.

- The Purchaser reserves the right at the time of contract finalization to increase or decrease by up to 15% the quantity of goods and services originally specified without any change in unit prices as well as other terms and conditions.

- Delivery Schedule: The delivery should be completed as per above schedule but not exceeding eight weeks from the date of the contract signature.

- Insurance: The Goods supplied under the Contract shall be fully insured in a freely convertible currency against loss of damage incidental to manufacture or acquisition, transportation, storage and delivery. The insurance shall be in an amount equal to 110 percent of the total value of the Goods from «Warehouse» to «Warehouse» on «All risks» basis, including «War Risks». The Supplier shall arrange and pay for cargo insurance, naming the Purchaser as the beneficiary.

- Applicable Law: The Contract shall be interpreted in accordance with the laws of the Purchaser's country.

- Resolution of Disputes: The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of a dispute between the Purchaser and the Supplier, the dispute shall be settled in accordance with the country procedures.

- Delivery and Documents: Upon shipment, the Supplier shall notify the Purchaser and the Insurance Company by cable of fax the full details of shipment, including purchase order number, description of goods, quantity, the vessel, the Shipping and Forwarding Receipt from freight Company showing full details, port of loading, date of shipment, port of discharge, etc. The Supplier shall mail the following documents to the Purchaser, with a copy to the Insurance Company:

- copies of the Supplier’s invoice showing goods’ description, quantity, unit price, and total amount;

- duplicate air/ truck transport document and/ or duplicate of railway transport document, and/or duplicate FCR ( Forwarders Certificate of Receipt) in 1 Original and 2 Copies marked «freight prepaid»;

- copies of the packing list identifying contents of each package;

- manufacturer's or supplier's warranty certificate;

- certificate of origin;

- certificate of quality.

The above documents shall be received by the Purchaser at least one week before arrival of the goods at the port of place of arrival and, if not received, the Supplier shall be responsible for any consequent expenses.

9.	Payment for your invoice will be made as follows: 100% against delivery of shipping documents and acceptance of the goods, in 30 days at latest through bank account according to invoice payment instruction.

- Warranty: Goods offered should be covered by manufacturer’s warranty for at least three years, from the date of delivery to the Purchaser.

The Supplier is obliged to accept the equipment maintenance after the warranty period. The price of the future equipment maintenance is not the part of this Quotation, and it will be the subject of separate contract. System maintaining after warranty period must be in accordance with requirements for system maintaining in warranty period.

## Packaging and Marking Instructions:  The Supplier shall provide standard packing of the Goods as required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract.

- Defects: All defects will be corrected by the Supplier without any cost to the Purchaser within 30 day from the date of notice by Purchaser. Name and address of service facility which the defects are to be corrected by the supplier within the warranty period:

Address

- Force-Majeure:  The supplier shall not be liable for penalties or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force-Majeure.

For purposes of this clause, “Force-Majeure” means an events beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

If a Force-Majeure situation arises, the Supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by Force-Majeure event.

- Required Technical Specifications

(i) 	General Description

(ii)	Specific details and technical standards

(iii)	Performance Parameters

Supplier confirms compliance with above specifications {In case of deviations supplier to list all such deviations}.

- Failure to Perform: The Purchaser may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, in spite of a 21 day notice given by the Purchaser, without incurring any liability to the Supplier.

NAME OF SUPPLIER

Authorized Signature

Place:

Attachment 1

Technical Specification

Lot1

Laboratory equipment for veterinary inspection

| Required by the Purchaser Delivery date 8 weeks from the date of the Contract signature |  |  | Offered by the Bidder [Bidder to insert the number of days/weeks of delivery following the date of the Contract signing] |
| --- | --- | --- | --- |
| No | Description | Required specification | Offered specification |
| 1. | Sample taking containers | Isothermal container Structure: realized completely in shockproof, plastic material grey color both in- and outside. Insulation: high density (40 Kg/mł). The lid is provided with a labyrinth gasket for a perfect seal and with Nr 2 heavy-duty lever locking systems realized in ABS 1 set complete 13+22 L+ 42 L | (Bidder to provide technical specification of offered goods for all required items) |
| 2. | Meat inspection knives | Pointed (3) (long 26 cm) and rounded (3) (long 15 cm) knives with stainless steel blade, heat resistant thermoplastic handle | (Bidder to provide technical specification of offered goods for all required items) |
| 3. | Tin opener | Tin opener, heavy duty catering type, type operated by hand. | (Bidder to provide technical specification of offered goods for all required items) |
| 4. | Technical balance | Precision balance PS 1200 R2 1200 g / 00.1 g, weighing pan 195x195 mm | (Bidder to provide technical specification of offered goods for all required items) |
| 5. | Meat cutting saw(s) | Stainless steel butchers saw, replaceable stainless steel blade, min. 500 mm long. | (Bidder to provide technical specification of offered goods for all required items) |
| 6. | Drill | Electric drill set complete with drills. 2 Speeds, Theft Security - Lockable cases, Durable - Shock proof (fully crash tested) and water resistant material, rechargeable batteries included in the equipment. | (Bidder to provide technical specification of offered goods for all required items) |
| 7. | Stainless steel bench | Bench 2,8 meters long, with waterproof, heat & acid resistant, chip-proof surface of heavy-duty epoxy resin or similar material. Mounted on cantilevered steel support frames, 750 mm deep, 900 mm height/length. | (Bidder to provide technical specification of offered goods for all required items) |
| 8. | pH meter | Specifications Measuring range // Resolution // Accuracy Temperature -2.0 … 20.0 ±0.1 pH -2.00 … 20.00 ±0.01 pH -2.000 … 19.999 ±0.005 pH ±(1200.0 ±0.3) mV ±(2000 ±1) mV Accuracy pH (±1 digit) mV Temperature ±0.005 pH ±0.01 pH ±0.3 mV, ±1 mV ±0.1 K ±0.005 pH ±0.01 pH ±0.3 mV, ±1 mV ±0.1 K Calibration 1, 2 or 3-point calibration WTW technical buffers, DIN/NIST buffers | (Bidder to provide technical specification of offered goods for all required items) |
| 9. | Microwave heater | Microwave oven with capacity to take 1000 ml Duran bottle | (Bidder to provide technical specification of offered goods for all required items) |
| 10. | Refrigerator/freezer | Refrigerator/freezer – energy efficiency class A or better, adjustable feet, auto defrost. Refrigerator section: 200 litre capacity to operate at +10C+1C. Freezer section: 60 litre capacity to operate at -20C-10C. - Ambient temperature display - Gross volume: more than 250 l, net volume more than 200 l; - Freezing space volume 60 l (net); - Freezing space is down of cooling space. - 2 compressors; - Voltage 220 – 230 V; | (Bidder to provide technical specification of offered goods for all required items) |
| 11. | Thawing equipment | Set of thawing equipment complete. Modular system for transporting, storing, and gently thawing deep-frozen samples Holds 24 tubes (1.5ml, 2ml) - insulating box, 0°C cold pack, -21°C cold pack, rack plus lid for 1.5/1.7/2.0 ml tubes | (Bidder to provide technical specification of offered goods for all required items) |
| 12. | Seals (metal, plastic) | Plastic or metal seals with applicator suitable for sealing lorries/containers. Applicators including 100 seals | (Bidder to provide technical specification of offered goods for all required items) |
| 13. | Laboratory autoclave | Digital temp. reg., capacity 28 litres, 220V/50 Hz, 2.2 KW, 2,1 Bar pressure, max. temp. 134۫C. Horizontal, automatic door locking system, display lcd color, menu on Montenegro or Mne similar (Serbia, Croatia) Montenegro language | (Bidder to provide technical specification of offered goods for all required items) |
| 14. | Bench | Bench 2,8 meters long with waterproof, heat & acid resistant, chip-proof surface of heavy-duty epoxy resin or similar material. Mounted on cantilevered steel support frames, 750 mm deep, 900 mm height/length. | (Bidder to provide technical specification of offered goods for all required items) |
| 15. | Halogen reflector | Reflector 2 x 500 W, 118 mm R7S, with tripod, with accumulator. Protection from humidity | (Bidder to provide technical specification of offered goods for all required items) |
| 17. | Sterile cups and bags | Set of sterile cups and bags of varying sizes. Storage cupboards for the storage of harmful and water endangering substances. Sterile cups 25 ml (100 pieces) Sterile cups 60 ml (100 pieces) Sterile cups 75 ml (100 pieces) Sterile cups 100 ml (100 pieces) Bags, 15 x 23cm, 710ml (500 pieces) | (Bidder to provide technical specification of offered goods for all required items) |
| 18. | Forklift | Forklift truck, battery charging system, complete weighing capacity 2.000kg | (Bidder to provide technical specification of offered goods for all required items) |
| 19. | Laboratory burner | Colour display and language selection, sensor and foot-switch (optional), built-in high-power battery. ● Flame activation by sensor 1x or 2x, foot-switch or pressing button by hand (START/STOP). ● Display of burn-time (1 sec...120 min) digitally visualized and adjustable to the second in all operating modes and with display of battery power status. ● Battery operating time: 30 hours in cyclic operation (ON_4 sec...OFF_12 sec) 15 hours in continuous operation (ON). ● Complete with high-speed battery charger incl. overcharge protection, the burner may also be operated during charging process. After 3 hours of charging, the schuett phoenix II accu is ready for mobile operation again. | (Bidder to provide technical specification of offered goods for all required items) |
| 20. | Refrigerated transportation boxes | PORTABLE REFIRIGIRATOR - Type top loader Internal volume 56 litres Voltage 12V / 24V /110V / 230V Power consumption 55 Watt average at 12V Temperature (+30°C Tamb.) down to -24°C Thermostat digital controller System danfoss BD50F compressor with integrated control electronic, roll-bond evaporator, ventilated condenser, integrated AC>DC rectifiers Specifications sturdy food grade single piece PE cabinet made by rotational moulding, designed for an easy cleaning and disinfection, comply with 93/43/EC (HACCP) and 89/108/EEC (frozen foodstuffs Directive) Insulation 70 mm PU Weight 19 kg. ca. - Type top loader Internal volume 32 litres Voltage 12-24Vdc 110-240Vac 50-60Hz Max power consumption 9-4A dc 1,6-0,8A ac Temperature (+30°C Tamb.) down to -24°C Operation digital controller System fully hermetic Danfoss compressor with integrated control electronic, rollbond evaporator, ventilated condenser Specifications sturdy food grade single piece PE cabinet made by rotational moulding, designed for an easy cleaning and disinfection, comply with 93/43/EC (HACCP) and 89/108/EEC (frozen foodstuffs Directive) Insulation 65-70 mm PU Weight 17 kg. ca. Optional accessories AHS (Automatic Heating System) | (Bidder to provide technical specification of offered goods for all required items) |
| 21. | Cutting board | Cutting board of high density polyethylene (100% HDPE) to comply with food regulations 330mm x 250mm x 20mm. | (Bidder to provide technical specification of offered goods for all required items) |
| 22. | Hot water high pressure cleaner | Pressure: 30-180 bars, flow: 600-1200 l/h, max. temp.: 140-/80 ۫C. Fuel oil consumption: 6.5 kg/h; Fuel oil tank: 25litre, 2 tanks for detergents: 20 + 17 litre, three-phase current, including 10 m high-pressure hose and spray lance. | (Bidder to provide technical specification of offered goods for all required items) |
| 23. | Infrared thermometer with external probe | Spectral range - 8-14um Emissivity - Adjustable 0.1 to 1.0 Storage temp. - -40 to +70°C Oper.temp. - -20 to +50°C Battery type - 9V block battery Battery life – more than 10h Weight – 150 – 300 gr Infrared - -30 to +400°C Type K (NiCr-Ni) - -50 to +500°C Accurancy infrared - ±1.5°C Resolution - 0.1°C Meas.spot marking - 2 point laser Distance to measurement spot - 12:1 Probe: Waterproof immersion/penetration probe, TC Type K, Fixed cable 1.2 m or more Measuring range of probe: -60 to +400 °C or more | (Bidder to provide technical specification of offered goods for all required items) |

Lot#2

Laboratory equipment for phytosanitary inspection

| Required by the Purchaser Delivery date 8 weeks from the date of the Contract signature |  |  | Offered by the Bidder [Bidder to insert the number of days/weeks following the date of the Contract signing] |
| --- | --- | --- | --- |
| No | Description | Required specification | Offered specification |
| 1. | USB microscope | Sensor 1/3”, 1.3MP CMOS Illumination 8-LED in ring formation with 2-step brightness control Focus Soft-grip focus wheel Magnification Focus position between 10X and 50X and a focus position at 200X, all screen size dependent. Capture Direct capture button and via the software Power Direct from the computer through the USB connection | (Bidder to provide technical specification of offered goods for all required items) |
| 2. | Lamps with light to enlarge (to zoom in) (magnifier lamps) | Zoom: 5x Uses 22 W Circline Full Specturm Bulb | (Bidder to provide technical specification of offered goods for all required items) |
| 3. | A small digital scale | Precision balance PS 1200 R2 1200 g / 00.1 g, weighing pan 195x195 mm, internal automatic calibration | (Bidder to provide technical specification of offered goods for all required items) |
| 4. | Manual plastic calibrator | Plastic calibrator for determining the diameter of the fruit 45-110 mm 30, 35, 40, 47, 57, 82, 102 mm, dimensions 225 x 285 mm | (Bidder to provide technical specification of offered goods for all required items) |
| 5. | Moisture meter | Capacity of measurement: 210g The temperature range: 30-250˚C (with adjustment of 1˚C) Precision of measurement of moisture content: 0.001% Halogen heater 4 drying modes | (Bidder to provide technical specification of offered goods for all required items) |
| 6. | Microscope | Laboratory microscope with Achromats 4x, 10x, 40x and 100x magnification (zoom) X, Y axis with fine adjustment ABBE capacitor Iris diagram Holder for filters | (Bidder to provide technical specification of offered goods for all required items) |
| 7. | Binocular | High quality professional optical glass elements 30° inclined 360° swiveling binocular head Easy to mount electronic eyepiece (digital microscope camera) 4X/0.10 (WD 6.3mm), 10X/0.25 (WD 4.4mm), 40X/0.65/S (WD 0.35mm), 100X/1.25/S-Oil (WD 0.13mm) 2 pairs of eyepieces: WF10X and WF15X Halogen illumination 6V/30 W | (Bidder to provide technical specification of offered goods for all required items) |
| 8. | Digital floor scale and Ramp | Digital floor scale Max capacity 1500 kg Readability 0,5 kg Tare range -1500 kg Pan size 1200×1500 mm Working temperature -10° - +40 °C Output signal RS 232 Power supply 230V / 11V AC or 120V / 11V AC and 6×AA NiMH accumulator Display LCD (backlit) Scale weight with indicator 135 kg Platform height 120 +/-10 mm RAMP 4 load cells for precise mass reading, regardless of load positioning on the weighing platform. Mild steel powder coated construction and feature mild steel powder coated weighing platform with grooved surface. The platform comprises 4 load cells connected to an indicator PUE C/31 series featuring backlit LCD display and 5 function buttons, and connected through a 3 meter long cable to the weighing platform. Scale has to be powered from mains or by batteries (6xAA), RS 232 output is offered as standard. The ramp has to be ready for installation in pit version which does not require application of ramps. | (Bidder to provide technical specification of offered goods for all required items) |
| 9. | Laboratory mill | Operating principle cutting/impact Motor rating input 160 W Motor rating output 100 W Speed max. 28000 rpm Circumferential speed max. 53 m/s Usable volume max. 80 ml | (Bidder to provide technical specification of offered goods for all required items) |
| 10. | Equipment for sampling and detection of mycotoxins (aflatoxin) | Multi sampler probe 1, multi sampler probe 2, sampling shovel Quantitative lateral flow test Lateral Flow Strip with ppb reading High sample throughput No instrument calibration required Optional filtration free extraction Print or download results to any spreadsheet - with reader Aflatoxin B1 control included with kit Lower Limit of Detection <2 ppb Quantitation Range 0-100 ppb (Optional 0-400 ppb Range) Control(s) Provided 20 ppb Incubation 10 mins @ 45°C Total Testing Time 12 minutes Incubator with two places Reader ¦ Consumebles for testing. Strips (100 pcs) | (Bidder to provide technical specification of offered goods for all required items) |
| 11. | Laboratory equipment | Menzures- glass, volume 25 ml (1 pcs), 250 ml (1 pcs), 500 ml (1pcs), 1000 ml (1pcs) Еrlenmeyer flasks, volume 100 ml (1pcs), 1000 ml (1pcs), 500 ml (1pcs), Pipettes, valume 1 ml (1pcs), 5 ml (1pcs), 10 ml (1 pcs), Automatic burette volume 25 ml (1 pcs) | (Bidder to provide technical specification of offered goods for all required items) |
| 12. | Hand Veneer Box | (Packaging Tape Dispenser - Tape Gun) | (Bidder to provide technical specification of offered goods for all required items) |
| 13. | Double knife for opening packages | (openx dual blade universal package opener) | (Bidder to provide technical specification of offered goods for all required items) |
| 14. | Probes for sampling of grain from trucks or wagons | • Truck probe diameter of 30 mm, length of 1500 mm, with 6 apertures • wagon of the probe diameter of 40 mm, length of 2000 mm, with 6 apertures, and • probe for bags, brass, ø 15 x 400 mm with 5 apertures | (Bidder to provide technical specification of offered goods for all required items) |
| 15. | Divisor of samples Control sieve for corn | diameter of 350 mm, with apertures of ø 5 mm i flooring for dropping Control sieve for wheat, the oval, with bottom and lid with apertures of 2×20 mm Control sieve for barley, the oval, with bottom and lid with apertures of 2,25×20 mm | (Bidder to provide technical specification of offered goods for all required items) |