Invitation to Quote (ITQ) – Procurement of office and laboratory furniture for Border Inspection Point Bar

No: MNE-MIDAS-7716-ME-SH-G-15-2.3.7.2

Project Title:	Montenegro Institutional Development and Agricultural Strengthening Project - MIDAS

Date: March 04, 2015

Source of Funding: Loan No 7716 – ME

Contract Ref: MNE-MIDAS-7716-ME-SH-G-15-2.3.7.2

To:

Dear Supplier,

1.	You are invited to submit your price quotation(s) for the supply of:

Furniture for office and laboratory premises for Border Inspection point in Bar

Information on technical specifications and required quantities are attached in Attachment 1 “Technical Specification”

2.	You must quote for all the items combined under this Invitation

3.	Your price quotation in the form attached may be submitted by hand, mail, facsimile or electronically at the below address (para 7).

4.        The deadline for receipt of your quotation (s) by the Purchaser at the addressed indicated in this paragraph: March 25, 2015 at 14:00 local time.

5.	Your quotation in duplicate and in English, should be accompanied by adequate technical documentation and catalogue(s) and other printed material or pertinent information for each item quoted, including names and addresses of firms providing service facilities in Montenegro.

6.	Your quotation(s) should be submitted as per the following instructions and in accordance with the attached Contract. The attached Terms and Conditions of Supply is an integral part of the Contract.

(i) PRICES:  The prices should be quoted in EUR for the Total Cost at final destination for Border Inspection Point for veterinary and phitosanitary products-Bar, Montenegro, which includes all taxes, VAT, customs, duties, inland transportation and insurance, loading and unloading.

(ii) EVALUATION OF QUOTATIONS:  Offers determined to be substantially responsive to the technical specifications will be evaluated by comparison of the total price at final destination as per para. 2 above.

In evaluating the quotations, the Purchaser will determine for each bid the evaluated price by adjusting the price quotation by making any correction for any arithmetical errors as follows:

(a) where there is a discrepancy between amounts in figures and in words, the amount in words will govern;

(b) where is a discrepancy between the unit rate and the line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern;

(c) if a Supplier refuses to accept the correction, his quotation will be rejected.

(iii) AWARD OF PURCHASE ORDER:  The award will be made to the bidder offering the lowest evaluated price and that meets the required standards of technical and financial capabilities.  The successful bidder will sign a Contract as per attached form of contract and terms and conditions of supply.

(iv) VALIDITY OF THE OFFER: Your quotation(s) should be valid for a period of forty five (45) days from the deadline for receipt of quotation(s) indicated in Paragraph 5 of this Invitation to Quote.

7.	Further information can be obtained from address below:

Address: Ministry of Finance-Technical Service Unit,

Jovana Tomaševića, bb (Stara zgrada Vlade),

Office 48, Ground floor

Telephone: +382 20 201 695 
Fax: +382 20 201 698

E-mail: mirko.ljesevic@mif.gov.me

Inspections and Audits

8.1	The Supplier shall carry out all instructions of the Purchaser which comply with the applicable laws where the destination is located.

8.2	 The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 5 Fraud and Corruption of the Form of Contract, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).

Sincerely,

Mirko Ljesevic,

Procurement Officer

TSU

FORM OF CONTRACT

THIS AGREEMENT number MNE-MIDAS-7716-SH-G-15-2.3.7.2. made on _________, ___ 2014, between Ministry of Agriculture and Rural Development, Rimski trg 46, PC Vektra, 81000 Podgorica, Montenegro, represented by Prof.dr. Petar Ivanović, Minister, (hereinafter called “the Purchaser”), on the one part and  ____________  (hereinafter called “the Supplier”) on the other part.

WHEREAS the Purchaser has invited quotation for Procurement of office and laboratory furniture for veterinary and phytosanitary inspection for Border Inspection Point Bar to be supplied by Supplier, viz. Contract MNE-MIDAS-7716-SH-G-15-2.3.7.2., (hereinafter called “Contract”) and has accepted the Bid by the Supplier for the supply of goods under Contract at the sum of __________ (___________________________) hereinafter called “the Contract Price”.

NOW THIS AGREEMENT witnessethes as follows:

- The following documents shall be deemed to form and be read and construed as part of this agreement, viz:

- Invitation to Quote; Term and Conditions of Supply, Technical Specification;

- Addendum (if applicable);

- Taking into account payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby concludes an Agreement with the Purchaser to execute and complete the supply of Contract and remedy any defects therein in conformity with the provisions of Contract.

- The Purchaser hereby covenants to pay in consideration of the goods supply and acceptance of Contract and remedying of defects therein, the Contract Price in accordance with Payment Conditions prescribed by Contract.

- Termination

4.1 Termination for Default

### The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate the Contract in whole or in part:

#### if the Supplier fails to deliver any or all of the Goods within the period specified in the Contract, or within any extension thereof granted.

#### if the Supplier fails to perform any other obligation under the Contract; or

#### if the Supplier, in the judgment of the Purchaser has engaged in fraud and corruption, as defined in Clause 5 below, in competing for or in executing the Contract.

(b)	 In the event the Purchaser terminates the Contract in whole or in part, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Related Services similar to those undelivered or not performed and the Supplier shall be liable to the Purchaser for any additional costs for such similar Goods or Related Services.  However, the Supplier shall continue performance of the Contract to the extent not terminated.

4.2	Termination for Insolvency.

### The Purchaser may at any time terminate the Contract by giving notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent.  In such event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy that has accrued or will accrue thereafter to the Purchaser.

4.3	Termination for Convenience.

### The Purchaser, by notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience.  The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.

### The Goods that are complete and ready for shipment within twenty-eight (28) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices.  For the remaining Goods, the Purchaser may elect:

#### to have any portion completed and delivered at the Contract terms and prices; and/or

      - to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Related Services and for materials and parts previously procured by the Supplier

Fraud and Corruption

- If the Purchaser determines that the Supplier and/or any of its personnel, or its agents, or its Subcontractors, consultants, service providers, suppliers and/or their employees has engaged in corrupt, fraudulent, collusive, coercive or obstructive practices (as defined in the prevailing Bank’s sanctions procedures), in competing for or in executing the Contract, then the Purchaser may, after giving 14 days notice to the Supplier, terminate the Supplier's employment under the Contract and cancel the contract, and the provisions of Clause 4 shall apply as if such expulsion had been made under Sub-Clause 4.1.

- Inspections and Audits

6.1 The Supplier shall carry out all instructions of the Purchaser which comply with the applicable laws where the destination is located

The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 5 Fraud and Corruption, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).

| Signature and seal of the Suppler: FOR AND ON BEHALF OF ____________________________ Name of Authorized Representative | Signature and seal of the Purchaser: FOR AND ON BEHALF OF ### Ministry of Agriculture and Rural Development ___________________________ Prof.dr. Petar Ivanović, Minister |
| --- | --- |

FORM OF QUOTATION

Date:

To: Ministry of Finance

Technical Service Unit

ul. Jovana Tomaševića bb

81000 Podgorica

e-mail: mirko.ljesevic@mif.gov.me

Telephone: +382 20 201 695

Fax: +382 20 201 698

We offer to execute the Procurement of office and laboratory furniture for veterinary and phytosanitary inspection for Border Inspection Point Bar, ref.no. MNE-MIDAS-7716-SH-G-15-2.3.7.2. in accordance with the Conditions of Contract accompanying this Quotation for the Contract Price of _________________________(amount in words and numbers) (______________) (name of currency)_____________.  We propose to complete the delivery of Goods described in the Contract within a period of ___________________calendar days from the Date of Signing of the Contract.

This Quotations and your written acceptance will constitute a binding Contract between us.  We understand that you are not bound to accept the lowest or any Quotation you receive.

We hereby confirm that this Quotation complies with the Validity of the Quotation required by the proposal documents.

Authorized Signature:

Name and Title of Signatory

Name of Supplier:

Address:

Phone Number:

Fax Number

Terms and Conditions of Supply

Project Name: Montenegro Institutional Development and Agricultural Strengthening Project - MIDAS

Purchaser: Ministry of Agriculture and Rural Development

Consignee: Inspection Directorate- BIP Bar

- Prices and Schedules for Supply

| Item No. | Description of Goods | Quantity | Unit Price (includes all taxes, VAT, customs, duties, inland transportation and insurance) (EUR) | Total Price at final destination (includes all taxes, VAT, customs, duties, inland transportation and insurance) (EUR) | Offered Delivery Date [Bidder to insert the number of days/weeks of delivery following the date of the Contract signing] |
| --- | --- | --- | --- | --- | --- |
| a | b | c | d | f=c*d | g |
| Note: Delivery date should not exceed five weeks from the date of Contract signature. The final design and color of the equipment will be in agreement between the Bidder and future users of the building. During the formation of bids Bidder is required to submit certificates on the quality of the offered materials for making the necessary equipment. |  |  |  |  |  |
|  | GROUND FLOOOR |  |  |  |  |
|  | Common premises |  |  |  |  |
| 1,000 | WAITING ROOM |  |  |  |  |
| 1,001 | Two-seater in the waiting room, dimensions 160*80, made of eco-leather, in the color chosen by the user.The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 1,002 | Glass table with metal legs in the waiting room, dimensions 60*60.The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 1,003 | Chair for guests. The chair is made of metal structures of circular cross-section and chrome. The finishing is the fire retardant fabric or eco-leather, in the color chosen by the user. The calculation is per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
|  | TOTAL FOR WAITING ROOM |  |  |  |  |
| 2,000 | COMUNICATIONS |  |  |  |  |
| 2,001 | The kitchen is made of veneered chipboard, dimensions 85*60 (the lower elements) and 85*30 (upper elements) . Design by the desire of the Investor. In the kitchen is fitted the round trough of stainless steel. Kitchen base unit has two wings. Plinth is made of aluminum. The upper elements consist of two folding elements of the height of 75 cm with internal shelves. The height of lower and upper elements is 90 and 75cm. The depth of the lower elements is 60 cm, and of the upper 30cm. Calculation per meter of all elements of the kitchen. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
| 2,002 | Supply and installation of one-piece round stainless steel sink 51cm. The price includes the need to drain the sink. Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
| 2,003 | Faucet, so called single lever "mixers" Fountain exist on the site. Prices include installation only |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
| 2,004 | Instantaneous heater, capacity of 10 liters. Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
|  | TOTAL FOR COMUNICATIONS |  |  |  |  |
|  | TOTAL FOR Common premises |  |  |  |  |
|  | Phytosanitary inspection |  |  |  |  |
| 3,000 | OFFICE |  |  |  |  |
| 3,001 | Mask around the metal cabinets. The corpus is of chipboard with the thickness of 18 mm, design and color are selected by the user. Inside the mask there is a shelf above the metal cabinet.The front of the cabinet are two doors to lock. Handles are made of PVC plastic or aluminum. Calculation per piece. Dimensions of the mask are 158x60x250. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 3,002 | Office chair. The chair is with a strong metal frame which leans on a star of five movable wheels. The backrest is height adjustable. Armrests are adjustable in height and width. The chair is equipped with a mechanism for adjusting the height of the seat and seatback in several positions. Finishing is the skin-split color chosen by the user. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 3,003 | Movable cassette under the desk with three drawers. Corps, the top and fron drawers are of the 18mm thick chipboard, in the color selected by the user. Drawer handles are made of aluminum. The central locking of all three drawers. Width of the drawers is 50cm and height 60cm. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 3,004 | Work table is of dimensions 180x90x74. The table has the chipboard legs of rectangular cross section 36mm. The tabletop is of chipboard 25mm thick, in the color selected by the user, and it is separeted by the metal part from the desk legs. The boards are coated with melamine foils resistant to scratching and staining. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 3,005 | Cabinet dimensions are 140x60x250. The construction of the cabinet is of the 18mm thick chipboard, design is selected by the user. The inside of the cabinet is with 5 shelves. The front of the cabinet are three doors to lock. Handles are made of PVC plastic or aluminum. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 3,006 | Chair for guests. The chair is made of metal structures of circular cross-section and chrome. The finishing is the fire retardant fabric or eco-leather, in the color chosen by the user. The calculation is per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 3,007 | Commode.The commode is of the dimensions 170x45x84. The circumferential structure that surrounds the commode is of the chipboard 36 mm thick, while the other parts are of the chipboard 18mm thick. Design is selected by the user. The front of the commode consists of the two doors, the middle part is with four drawers. The inside of the cabinet consists of two shelves. Handles are made of PVC plastic or aluminum. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
|  | TOTAL FOR OFFICE |  |  |  |  |
| 4,000 | LABORATORY |  |  |  |  |
| 4,001 | Laboratory chairs with swivel stool, vertically adjustable. Black material with leatherette cover. Approx. measurements (+/-15%): Back height 53 cm, Back width 44 cm, Depth 44 cm, Adjustable arms, Lumbar support. |  |  |  |  |
|  |  | pcs | 4,00 |  |  |
| 4,002 | Laboratory table and sink unit. Laboratory table should be made of the Melamine laminate top resist or Epoxy resin material., dimensions 275/120/90 cm, in white color, mounted on "C" or "H" shape frame made from the galvanised and epoxy powder coated steel. Sink unit with built-in bowl (bathtubs) and underbench cabinet, dimensions 120/60/90 cm. Sink worktop dimensions 120/60 cm, with central built-in bowl, inner dimensions 60/40/25cm, and draining area. Sink worktop and bowl are made of ceramic. The underbench cabinet is suspended, mounted on stainless steel C-frame with 3 full hinged doors made of the plastic coated plywood and with one internal shelf in each of them, in white color. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 4,003 | Laboratory bench. Dimensions 180/60/90 cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound. Form of the bases are in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges. |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
| 4,004 | Cabinet below laoboratory benches, total dimensions 80/55/80 cm. Cabinet is with 2 full hinged doors, dimensions 80/60/80 cm, with one inner shelf. Made of plastic coated plywood, in white color. All doors are with cilindrical locks. |  |  |  |  |
|  |  | pcs | 4,00 |  |  |
| 4,005 | Closet with top mounted cabinet. Total dimensions 90/60/250 cm. Closet is with 2 full sliding doors, dimensions 90/60/190 cm, with 5 inner shelves. Top mounted cabinet is with 2 full hinged doors, dimensions 90/60/60 cm, with one inner shelf. Made of plastic coated plywood, in white color. All doors are with cilindrical locks. |  |  |  |  |
|  |  | pcs | 4,00 |  |  |
| 4,006 | Faucet, so called single lever "mixers" Fountain exist on the site. Prices include installation only |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 4,007 | Instantaneous heater, capacity of 10 liters.Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
|  | TOTAL FOR LABORATORY |  |  |  |  |
| 5,000 | CLOAKROOM AND SHOWER |  |  |  |  |
| 5,001 | Cabinet dimensions are 155x60x250. The construction of the cabinet is of the 18mm thick chipboard, design is be selected by the user. The inside of the cabinet is with 5 shelves (the part where the double doors). Part where the single door one shelf at a height of 200cm and below the shelf part for hanging jackets. The front of the cabinet are three doors to lock. Handles are made of PVC plastic or aluminum. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
|  | TOTAL FOR CLOAKROOM AND SHOWER |  |  |  |  |
| 6,000 | ROOM 6 |  |  |  |  |
| 6,001 | The kitchen is made of veneered chipboard. Dimensions 120*60 cm. Design by the desire of the Investor. In the kitchen is fitted the round trough of stainless steel. Kitchen base unit has two sliding wings. Plinth is made of aluminum. The upper elements consist of two folding elements of the height of 90 cm with internal shelves. The height of lower and upper elements is 90 cm. The depth of the lower elements is 60 cm, and of the upper 30cm. Calculation per meter of all elements of the kitchen. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 6,002 | Supply and installation of one-piece round stainless steel sink 51cm. The price includes the need to drain the sink. Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 6,003 | Faucet, so called single lever "mixers" Fountain exist on the site. Prices include installation only |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 6,004 | Instantaneous heater, capacity of 10 liters.Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 6,005 | Closet with top mounted cabinet. Total dimensions 80/60/250 cm. Closet is with 2 full sliding doors, dimensions 80/60/190 cm, with 5 inner shelves. Top mounted cabinet is with 2 full hinged doors, dimensions 80/60/60 cm, with one inner shelf. Made of plastic coated plywood, in white color. All doors are with cilindrical locks. |  |  |  |  |
|  |  | pcs | 3,00 |  |  |
|  | TOTAL FOR ROOM 6 |  |  |  |  |
| 7,000 | ARCHIVES |  |  |  |  |
| 7,001 | Three-seater in the waiting room, dimensions 240*80, made of eco-leather, in the color chosen by the user.The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 7,002 | Glass table with metal legs, dimensions 60*60.The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 7,003 | Chair for guests. The chair is made of metal structures of circular cross-section and chrome. The finishing is the fire retardant fabric or eco-leather, in the color chosen by the user. The calculation is per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
| 7,004 | Cabinet dimensions are 95x45x90. The construction of the cabinet is of 18mm thick chipboard, design is selected by the user. The inside of the closet is with 1 shelves. The front of the cabinet is two doors to lock. Handles are made of PVC plastic or aluminum. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 7,005 | Cabinet dimensions are 42x45x250. The construction of the cabinet is of 18mm thick chipboard, design is selected by the user. The inside of the closet is with 5 shelves. The front of the cabinet is one door to lock. Handles are made of PVC plastic or aluminum. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
| 7,006 | Office metal cabinet is of the dimensions 90x45x190. Manufactured in accordance with DIN 4102standard, with fire resistance of 30 minutes. Cabinet has four removable shelves. The cabinet is made of sheet metal with mineral flame retardant filling. Keyhole with a double knurled/treated key. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
| 7,007 | Mask around the metal cabinets. The corpus is of chipboard with the thickness of 18 mm, design and color are selected by the user. Inside the mask there is a shelf above the metal cabinet. Dimensions of the mask are 95x45x250. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
|  | TOTAL FOR ARCHIVES |  |  |  |  |
| 8,000 | UNLOADING AND INSPECTION |  |  |  |  |
| 8,001 | Laboratory bench. Dimensions 300/60/90 cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound. Form of the bases are in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges. |  |  |  |  |
|  | 138x60x250 | pcs | 2,00 |  |  |
| 8,002 | Supply and installation of one-piece round stainless steel sink 51cm. The price includes the need to drain the sink. Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
| 8,003 | Faucet, so called single lever "mixers" Fountain exist on the site. Prices include installation only |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
| 8,004 | Istantaneous heater, capacity of 10 liters.Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
| 8,005 | Cabinet below laoboratory benches, total dimensions 90/60/80 cm. Cabinet is with 2 full hinged doors, dimensions 90/60/80 cm, with one inner shelf. Made of plastic coated plywood, in white color. All doors are with cilindrical locks. |  |  |  |  |
|  |  | pcs | 6,00 |  |  |
|  | TOTAL FOR UNLOADING AND INSPECTION |  |  |  |  |
|  | TOTAL FOR Phytosanitary inspection |  |  |  |  |
|  | Veterinary inspection |  |  |  |  |
| 9,000 | OFFICE |  |  |  |  |
| 9,001 | Chair for guests. The chair is made of metal structures of circular cross-section and chrome. The finishing is the fire retardant fabric or eco-leather, in the color chosen by the user. The calculation is per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 9,002 | Office cabinet. Office cabinet is of dimensions 90x60x250. The construction of the cabinet is of the chipboard 18mm thick, design is selected by the user. The inside of the cabinet is with 5 shelves. The front of the cabinet are two doors to lock. Handles are made of plastic or aluminum. Calculation per piece . The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 9,003 | Work table is of dimensions 180x90x74. The table has the chipboard legs of rectangular cross section 36mm. The tabletop is of chipboard 25mm thick, in the color selected by the user, and it is separeted by the metal part from the desk legs. The boards are coated with melamine foils resistant to scratching and staining. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 9,004 | Movable cassette under the desk with three drawers. Corps, the top and fron drawers are of the 18mm thick chipboard, in the color selected by the user. Drawer handles are made of aluminum. The central locking of all three drawers. Width of the drawers is 50cm and height 60cm. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 9,005 | Office chair. The chair is with a strong metal frame which leans on a star of five movable wheels. The backrest is height adjustable. Armrests are adjustable in height and width. The chair is equipped with a mechanism for adjusting the height of the seat and seatback in several positions. Finishing is the skin-split color chosen by the user. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 9,006 | Commode. The commode is of the dimensions 245x45x84. The circumferential structure that surrounds the commode is of the chipboard 36 mm thick, while the other parts are of the chipboard 18mm thick. Design is selected by the user. The front of the commode consists of the two doors, the middle part is with four drawers. The inside of the cabinet consists of two shelves. Handles are made of PVC plastic or aluminum. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
|  | TOTAL FOR OFFICE |  |  |  |  |
| 10,000 | CLOAKROOM AND SHOWER |  |  |  |  |
| 10,001 | The kitchen is made of veneered chipboard. Dimensions 120*60 cm. Design by the desire of the Investor. In the kitchen is fitted the round trough of stainless steel. Kitchen base unit has two sliding wings. Plinth is made of aluminum. The upper elements consist of two folding elements of the height of 90 cm with internal shelves. The height of lower and upper elements is 90 cm. The depth of the lower elements is 60 cm, and of the upper 30cm. Calculation per meter of all elements of the kitchen. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 10,002 | Supply and installation of one-piece round stainless steel sink 51cm. The price includes the need to drain the sink. Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 10,003 | Faucet, so called single lever "mixers" Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 10,004 | Instantaneous heater, capacity of 10 liters.Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 10,005 | Closet with top mounted cabinet. Total dimensions 75/60/250 cm. Closet is with 2 full sliding doors, dimensions 75/60/190 cm, with 5 inner shelves. Top mounted cabinet is with 2 full hinged doors, dimensions 75/60/60 cm, with one inner shelf. Made of plastic coated plywood, in white color. All doors are with cilindrical locks. |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
|  | TOTAL FOR CLOAKROOM AND SHOWER |  |  |  |  |
| 11,000 | ARCHIVES |  |  |  |  |
| 11,001 | Metal cabinet is of the dimensions 90x45x190. Manufactured in accordance with DIN 4102standard, with fire resistance of 30 minutes. Cabinet has four removable shelves. The cabinet is made of sheet metal with mineral flame retardant filling. Keyhole with a double knurled/treated key. Calculation per piece. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 6,00 |  |  |
|  | TOTAL FOR ARCHIVES |  |  |  |  |
| 12,000 | LABORATORY |  |  |  |  |
| 12,001 | Laboratory bench. Dimensions 180/60/90 cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound. Form of the bases are in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges.. |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
| 12,002 | Supply and installation of one-piece round stainless steel sink 51cm. The price includes the need to drain the sink. Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 12,003 | Faucet, so called single lever "mixers" Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 12,004 | Instantaneous heater, capacity of 10 liters.Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 12,005 | Wall cabinet above the lab bench, total dimensions 90/30/90 cm. Cabinet is with 2 full hinged doors, dimensions 90/30/90 cm, with one inner shelf. Made of plastic coated plywood, in white color. All doors are with cilindrical locks. |  |  |  |  |
|  |  | pcs | 4,00 |  |  |
| 12,006 | Cabinet below laoboratory benches, total dimensions 80/60/80 cm. Cabinet is with 2 full hinged doors, dimensions 80/60/80 cm, with one inner shelf. Made of plastic coated plywood, in white color. All doors are with cilindrical locks. |  |  |  |  |
|  |  | pcs | 4,00 |  |  |
| 12,007 | Laboratory chairs with swivel stool, vertically adjustable. Black material with leatherette cover. Approx. measurements (+/-15%): Back height 53 cm, Back width 44 cm, Depth 44 cm, Adjustable arms, Lumbar support. |  |  |  |  |
|  |  | pcs | 2,00 |  |  |
|  | TOTAL FOR LABORATORY |  |  |  |  |
| 13,000 | KITCHEN |  |  |  |  |
| 13,001 | The kitchen is made of veneered chipboard. Dimensions 190*60 cm. Design by the desire of the Investor. In the kitchen is fitted the round trough of stainless steel. Kitchen base unit has four sliding wings and one with the classic opening. Plinth is made of aluminum. Three the upper elements consist of two folding elements of the height of 90 cm with internal shelves. The height of lower and upper elements is 90 cm. The depth of the lower elements is 60 cm, and of the upper 30cm. Calculation per meter of all elements of the kitchen. The price includes the purchase and installation. |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 13,002 | Supply and installation of one-piece round stainless steel sink 51cm. The price includes the need to drain the sink. Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 13,003 | Faucet, so called single lever "mixers" Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
| 13,004 | Instantaneous heater, capacity of 10 liters.Price includes the purchase and installation |  |  |  |  |
|  |  | pcs | 1,00 |  |  |
|  | TOTAL FOR KITCHEN |  |  |  |  |
|  | TOTAL FOR Veterinary inspection |  |  |  |  |
| SUMMARY |  |  |  |  |  |
|  | Common premises |  |  |  |  |
|  | Phytosanitary inspection |  |  |  |  |
|  | Veterinary inspection |  |  |  |  |
|  | TOTAL |  |  |  |  |

Note: In case of discrepancy between unit price and total derived from unit price, the unit price shall prevail.

- Fixed Price:  The prices indicated above are firm and fixed and not subject to any adjustment during contract performance.

- The Purchaser reserves the right at the time of contract finalization to increase or decrease by up to 15% the quantity of goods and services originally specified without any change in unit prices as well as other terms and conditions.

- Delivery Schedule: The delivery should be completed as per above schedule but not exceeding five weeks from the date of the contract signature.

- Insurance: The Goods supplied under the Contract shall be fully insured in a freely convertible currency against loss of damage incidental to manufacture or acquisition, transportation, storage and delivery. The insurance shall be in an amount equal to 110 percent of the total value of the Goods from «Warehouse» to «Warehouse» on «All risks» basis, including «War Risks». The Supplier shall arrange and pay for cargo insurance, naming the Purchaser as the beneficiary.

- Applicable Law: The Contract shall be interpreted in accordance with the laws of the Purchaser's country.

- Resolution of Disputes: The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of a dispute between the Purchaser and the Supplier, the dispute shall be settled in accordance with the country procedures.

- Delivery and Documents: Upon shipment, the Supplier shall notify the Purchaser and the Insurance Company by cable of fax the full details of shipment, including purchase order number, description of goods, quantity, the vessel, the Shipping and Forwarding Receipt from freight Company showing full details, port of loading, date of shipment, port of discharge, etc. The Supplier shall mail the following documents to the Purchaser, with a copy to the Insurance Company:

- copies of the Supplier’s invoice showing goods’ description, quantity, unit price, and total amount;

- duplicate air/ truck transport document and/ or duplicate of railway transport document, and/or duplicate FCR ( Forwarders Certificate of Receipt) in 1 Original and 2 Copies marked «freight prepaid»;

- copies of the packing list identifying contents of each package;

- manufacturer's or supplier's warranty certificate;

- certificate of origin;

- certificate of quality.

The above documents shall be received by the Purchaser at least one week before arrival of the goods at the port of place of arrival and, if not received, the Supplier shall be responsible for any consequent expenses.

9.	Payment for your invoice will be made as follows: 100% against delivery of shipping documents and acceptance of the goods, in 30 days at latest through bank account according to invoice payment instruction.

- Warranty: Goods offered should be covered by manufacturer’s warranty for at least one year, from the date of delivery to the Purchaser.

The Supplier is obliged to accept the equipment maintenance after the warranty period. The price of the future equipment maintenance is not the part of this Quotation, and it will be the subject of separate contract. System maintaining after warranty period must be in accordance with requirements for system maintaining in warranty period.

## Packaging and Marking Instructions:  The Supplier shall provide standard packing of the Goods as required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract.

- Defects: All defects will be corrected by the Supplier without any cost to the Purchaser within 30 day from the date of notice by Purchaser. Name and address of service facility which the defects are to be corrected by the supplier within the warranty period:

Address

- Force-Majeure:  The supplier shall not be liable for penalties or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force-Majeure.

For purposes of this clause, “Force-Majeure” means an events beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

If a Force-Majeure situation arises, the Supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by Force-Majeure event.

- Required Technical Specifications

(i) 	General Description

(ii)	Specific details and technical standards

(iii)	Performance Parameters

Supplier confirms compliance with above specifications {In case of deviations supplier to list all such deviations}.

- Failure to Perform: The Purchaser may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, in spite of a 21 day notice given by the Purchaser, without incurring any liability to the Supplier.

NAME OF SUPPLIER

Authorized Signature

Place:

Attachment 1

Technical specification with drawings will be enclosed as a separate file to this Invitation to Quote