Request for Quotation (RFQ) - Shopping For Goods/ Procurement of laboratory equipment for Tehnopolis

Date: March 13, 2019

Project Title:	Second Institutional Development and Agriculture Strengthening Project (MIDAS 2)

Source of Funding: World Bank loan

Loan No: 8820-ME

Contract Ref: MNE-MIDAS2-8820-ME-RFQ-G-19-1.2.2.8

To:________________________

Dear Supplier,

- You are invited to submit your price quotation(s) for the supply of the following Lots:

Lot1

| Item No. | Specification | Quantity/pcs |
| --- | --- | --- |
| 1. | Portable XRF instrument for metal identification and quantification | 1 |

Lot2

| Item No. | Specification | Quantity/pcs |
| --- | --- | --- |
| 1. | RT PCR instrument | 1 |
| 2. | Validation Kit | 10 |
| 3. | Lab in a Box DNA/RNA Extraction Equipment | 2 |
| 4. | Various PCR Kits (DNA, RNA extraction kit x 5, P.MIRABILIS - PCR kit x 3, E.COLI_SPP - PCR kit x 3, E.COLI_0157 - PCR kit x 3, L.MONOCYTOGENES- PCR kit x 3, S.ENTERITICA- PCR kit x 3, B.ABORTUS- PCR kit x 2, S.AUREUS- -PCR kit x 2, LACTOBACILLUS - PCR kit x 2, C.COLI-EASY-PCR x 2, Y.ENTEROCOLITICA- PCR kit x 2) | 30 |
| 5. | Extraction Kit | 10 |
| 6. | Supporting laboratory equipment | 1 |
| 7. | PCR cabinet with the air recirculation and the UV lamp | 1 |
| 8. | Spin centrifuge | 1 |
| 9. | UV lamp and mobile UV lamp | 1 |
| 10. | Vortex | 1 |
| 11. | Dry block thermostat with carrier | 1 |
| 12. | Containers for save storage | 4 |
| 13. | Reagans and samples fridge | 2 |

Information on technical specifications and required quantities are enclosed in Attachment 1 of ITQ.

2.	You may quote for one or both lots. Each Lot shall be evaluated and contract awarded separately to the firm(s) offering the lowest evaluated price for each Lot separately (prices quoted shall correspond to 100% of the items specified for each lot and to 100% of the quantities specified for each item of a lot).

3.	Your price quotation in the form attached may be submitted by hand, mail, facsimile or electronically at the following address:

Ministry of finance

Technical Service Unit

Attn: Mirko Lješević

ul. Jovana Tomaševića bb (Stara zgrada Vlade)

81000 Podgorica

e-mail: mirko.ljesevic@mif.gov.me

Telephone: +382 20 201 695

Fax: +382 20 201 698

4.  The deadline for receipt of your quotation (s) by the Purchaser at the addressed indicated in this paragraph: April 03, 2019 at 14,00h.

5.	Your quotation in duplicate and in English language, should be accompanied by adequate technical documentation and catalogue(s) and other printed material or pertinent information for each item quoted, including names and addresses of firms providing after sales service in Montenegro or in the region (Serbia/Bosnia and Herzegovina/Croatia/FYR Macedonia/Albania).

Bidder must present Manufacturer Authorization for sale and services for all items which price is higher than 5.000 EUR per item, to demonstrate that it has been duly authorized by the manufacturer or producer of the Goods to supply these Goods in the Purchaser’s Country and fully authorized by the manufacturer(s) and owned by the bidder, or under sub-contract with an appropriate firms capable and authorized by manufacturer to provide adequate after sales service in Montenegro or in the region (Serbia/Bosnia and Herzegovina/Croatia/FYR Macedonia/Albania).

6.	Your quotation(s) should be submitted as per the following instructions and in accordance with the attached Contract. The attached Terms and Conditions of Supply is an integral part of the Contract.

(i) PRICES:  The prices should be quoted in EUR for the Total Cost at final destination at Tehnopolis, Radoja Dakića bb. 81400 Nikšić, Montenegro which includes all taxes, VAT, customs, duties, inland transportation and insurance, loading and unloading, installation and training.

(ii) EVALUATION OF QUOTATIONS:  Offers determined to be substantially responsive to the technical specifications will be evaluated by comparison of the total price at final destination as per para. 2 above.

In evaluating the quotations, the Purchaser will determine for each bid the evaluated price by adjusting the price quotation by making any correction for any arithmetical errors as follows:

(a) where there is a discrepancy between amounts in figures and in words, the amount in words will govern;

(b) where is a discrepancy between the unit rate and the line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern;

(c) if a Supplier refuses to accept the correction, his quotation will be rejected.

(iii) AWARD OF PURCHASE ORDER:  The award will be made to the bidder offering the lowest evaluated price and that meets the required standards of technical and financial capabilities.  The successful bidder will sign a Contract as per attached form of contract and terms and conditions of supply.

(iv) VALIDITY OF THE OFFER: Your quotation(s) should be valid for a period of forty five (45) days from the deadline for receipt of quotation(s) indicated in Paragraph 5 of this Invitation to Quote.

7.	Further information can be obtained from:

Ministry of Finance

Technical Service Unit

Attn: Mirko Lješević

ul. Jovana Tomaševića bb (Stara zgrada Vlade)

81000 Podgorica

e-mail: mirko.ljesevic@mif.gov.me

Telephone: +382 20 201 695

Fax: +382 20 201 698

8.	Inspections and Audits

8.1	The Supplier shall carry out all instructions of the Purchaser which comply with the applicable laws where the destination is located.

8.2	 The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 5 Fraud and Corruption of the Form of Contract, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).

9.	Please confirm by fax/e-mail the receipt of this invitation and whether or not you will submit the price quotation(s).

Sincerely,

Mirko Ljesevic s.r.

TSU Procurement officer

FORM OF CONTRACT

THIS AGREEMENT number MNE-MIDAS2-8820-ME-RFQ-G-19-1.2.2.8

made on _________, ___ 2019, between Ministry of Agriculture and Rural Development, Rimski Trg 46, 81000 Podgorica, Montenegro, represented by Mr. Milutin Simović, MSc Minister (hereinafter called “the Purchaser”) on the one part

and  ______________________________________  (hereinafter called “the Supplier”) on the other part.

WHEREAS the Purchaser has invited quotation for Procurement of laboratory equipment for Tehnopolis, viz. Contract MNE-MIDAS2-8820-ME-RFQ-G-19-1.2.2.8., (hereinafter called “Contract”) and has accepted the Bid by the Supplier for the supply of goods under Contract at the sum of ____________ (___________________________) hereinafter called “the Contract Price”.

NOW THIS AGREEMENT witnessethes as follows:

- The following documents shall be deemed to form and be read and construed as part of this agreement, viz:

- Invitation to Quote; Term and Conditions of Supply, Technical Specification;

- Addendum (if applicable);

- Taking into account payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby concludes an Agreement with the Purchaser to execute and complete the supply of Contract and remedy any defects therein in conformity with the provisions of Contract.

- The Purchaser hereby covenants to pay in consideration of the goods supply and acceptance of Contract and remedying of defects therein, the Contract Price in accordance with Payment Conditions prescribed by Contract.

- Termination

4.1 Termination for Default

### The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate the Contract in whole or in part:

#### if the Supplier fails to deliver any or all of the Goods within the period specified in the Contract, or within any extension thereof granted.

#### if the Supplier fails to perform any other obligation under the Contract; or

#### if the Supplier, in the judgment of the Purchaser has engaged in fraud and corruption, as defined in Clause 5 below, in competing for or in executing the Contract.

(b)	 In the event the Purchaser terminates the Contract in whole or in part, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Related Services similar to those undelivered or not performed and the Supplier shall be liable to the Purchaser for any additional costs for such similar Goods or Related Services.  However, the Supplier shall continue performance of the Contract to the extent not terminated.

4.2	Termination for Insolvency.

### The Purchaser may at any time terminate the Contract by giving notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent.  In such event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy that has accrued or will accrue thereafter to the Purchaser.

4.3	Termination for Convenience.

### The Purchaser, by notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience.  The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.

### The Goods that are complete and ready for shipment within twenty-eight (28) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices.  For the remaining Goods, the Purchaser may elect:

#### to have any portion completed and delivered at the Contract terms and prices; and/or

      - to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Related Services and for materials and parts previously procured by the Supplier

Fraud and Corruption

- If the Purchaser determines that the Supplier and/or any of its personnel, or its agents, or its Subcontractors, consultants, service providers, suppliers and/or their employees has engaged in corrupt, fraudulent, collusive, coercive or obstructive practices (as defined in the prevailing Bank’s sanctions procedures), in competing for or in executing the Contract, then the Purchaser may, after giving 14 days notice to the Supplier, terminate the Supplier's employment under the Contract and cancel the contract, and the provisions of Clause 4 shall apply as if such expulsion had been made under Sub-Clause 4.1.

- Inspections and Audits

6.1 The Supplier shall carry out all instructions of the Purchaser which comply with the applicable laws where the destination is located

The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 5 Fraud and Corruption, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).

| Signature and seal of the Purchaser: FOR AND ON BEHALF OF _______________________ Name of Authorized Representative | Signature and seal of the Suppler: FOR AND ON BEHALF OF ____________________________ Name of Authorized Representative |
| --- | --- |

FORM OF QUOTATION

_________(Date)

To: Ministry of Finance

Technical Service Unit

Attn: Mirko Lješević

ul. Jovana Tomaševića br.2 (Stara zgrada Vlade)

81000 Podgorica, Montenegro

e-mail: mirko.ljesevic@mif.gov.me

Telephone: +382 20 201 695

Fax: +382 20 201 698

We offer to execute the Procurement of laboratory equipment for Tehnopolis, viz. Contract MNE-MIDAS2-8820-ME-RFQ-G-19-1.2.2.8, in accordance with the Conditions of Contract accompanying this Quotation for the Contract Price of _________________________(amount in words and numbers) (______________) EUR.  We propose to complete the delivery of Goods described in the Contract within a period of ______ calendar days from the Date of Signing of the Contract.

This Quotation and your written acceptance will constitute a binding Contract between us.  We understand that you are not bound to accept the lowest or any Quotation you receive.

We hereby confirm that this Quotation complies with the Validity of the Quotation required by the proposal documents.

Authorized Signature:______________________________________

Name and Title of Signatory_________________________________

_________________________________

Name of Supplier:_______________________________________

Address:	         _______________________________________

_______________________________________

Phone Number         ___________________

Fax Number, if any ___________________

Terms and Conditions of Supply

Project Name: Procurement of laboratory equipment for Tehnopolis

Purchaser: Ministry of Agriculture and Rural Development

Consignee: Tehnopolis

Package No. 1

- Prices and Schedules for Supply

- Lot1

| No. | Item | Quantity/pcs | Unit Price (includes all taxes, VAT, customs, duties, inland transportation and insurance, installation and training) (EUR) | Total Price at final destination (includes all taxes, VAT, customs, duties, inland transportation and insurance, installation and training) (EUR) | Delivery date |
| --- | --- | --- | --- | --- | --- |
| a) | b) | c) | d) | e)=c) x d) | f) |
| 1. | Portable XRF instrument for metal identification and quantification | 1 |  |  | 60 calendar days after signing the Contract |

- Lot2

| No. | Item | Quantity/pcs | Unit Price (includes all taxes, VAT, customs, duties, inland transportation and insurance, installation and training) (EUR) | Total Price at final destination (includes all taxes, VAT, customs, duties, inland transportation and insurance, installation and training) (EUR) | Delivery date |
| --- | --- | --- | --- | --- | --- |
| a) | b) | c) | d) | e)=c) x d) | f) |
| 1. | RT PCR instrument | 1 |  |  | 60 calendar days after signing the Contract |
| 2. | Validation Kit | 10 |  |  | 60 calendar days after signing the Contract |
| 3. | Lab in a Box DNA/RNA Extraction Equipment | 2 |  |  | 60 calendar days after signing the Contract |
| 4. | Various PCR Kits (DNA, RNA extraction kit x 5, P.MIRABILIS - PCR kit x 3, E.COLI_SPP - PCR kit x 3, E.COLI_0157 - PCR kit x 3, L.MONOCYTOGENES- PCR kit x 3, S.ENTERITICA- PCR kit x 3, B.ABORTUS- PCR kit x 2, S.AUREUS- -PCR kit x 2, LACTOBACILLUS - PCR kit x 2, C.COLI-EASY-PCR x 2, Y.ENTEROCOLITICA- PCR kit x 2) | 30 |  |  | 60 calendar days after signing the Contract |
| 5. | Extraction Kit | 10 |  |  | 60 calendar days after signing the Contract |
| 6. | Supporting laboratory equipment | 1 |  |  | 60 calendar days after signing the Contract |
| 7. | PCR cabinet with the air recirculation and the UV lamp | 1 |  |  | 60 calendar days after signing the Contract |
| 8. | Spin centrifuge | 1 |  |  | 60 calendar days after signing the Contract |
| 9. | UV lamp and mobile UV lamp | 1 |  |  | 60 calendar days after signing the Contract |
| 10. | Vortex | 1 |  |  | 60 calendar days after signing the Contract |
| 11. | Dry block thermostat with carrier | 1 |  |  | 60 calendar days after signing the Contract |
| 12. | Containers for save storage | 4 |  |  | 60 calendar days after signing the Contract |
| 13. | Reagans and samples fridge | 2 |  |  | 60 calendar days after signing the Contract |
| TOTAL: |  |  |  |  |  |

{Note: In case of discrepancy between unit price and total derived from unit price, the unit price shall prevail}

- Fixed Price:  The prices indicated above are firm and fixed and not subject to any adjustment during contract performance.

- The Purchaser reserves the right at the time of contract finalization to increase or decrease by up to 15% the quantity of goods and services originally specified without any change in unit prices as well as other terms and conditions.

- Delivery Schedule: The delivery should be completed as per above schedule but not exceeding 60 calendar days from contract signature day. Delivery will be at the address of the Tehnopolis, Radoja Dakića b.b. 81400 Nikšić, Montenegro.

- Insurance: The Goods supplied under the Contract shall be fully insured in a freely convertible currency against loss of damage incidental to manufacture or acquisition, transportation, storage and delivery. The insurance shall be in an amount equal to 110 percent of the total value of the Goods from «Warehouse» to «Warehouse» on «All risks» basis, including «War Risks». The Supplier shall arrange and pay for cargo insurance, naming the Purchaser as the beneficiary.

- Applicable Law: The Contract shall be interpreted in accordance with the laws of the Purchaser's country.

- Resolution of Disputes: The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of a dispute between the Purchaser and the Supplier, the dispute shall be settled in accordance with the country procedures.

- Delivery and Documents: Upon shipment, the Supplier shall notify the Purchaser and the Insurance Company by cable of fax the full details of shipment, including purchase order number, description of goods, quantity, the vessel, the Shipping and Forwarding Receipt from freight Company showing full details, port of loading, date of shipment, port of discharge, etc. The Supplier shall mail the following documents to the Purchaser, with a copy to the Insurance Company:

- copies of the Supplier’s invoice showing goods’ description, quantity, unit price, and total amount;

- manufacturer's or supplier's warranty certificate;

- certificate of origin;

- certificate of quality.

The above documents shall be received by the Purchaser at least one week before arrival of the goods at the port of place of arrival and, if not received, the Supplier shall be responsible for any consequent expenses.

9.	Payment for your invoice will be made as follows: 100% against delivery of shipping documents and acceptance of goods, within thirty (30) days after the date of the Acceptance Certificate for the respective delivery, issued by the Purchaser.

- Warranty: Goods offered should be covered by manufacturer’s warranty for at least 12 months from the date of the issuance of the Acceptance Certificate.

## Packaging and Marking Instructions:  The Supplier shall provide standard packing of the Goods as required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract.

- Defects: All defects will be corrected by the Supplier without any cost to the Purchaser within 30 day from the date of notice by Purchaser. Name and address of service facility which the defects are to be corrected by the supplier within the warranty period:

Address _______________

______________________

- Force-Majeure:  The supplier shall not be liable for penalties or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force-Majeure.

For purposes of this clause, “Force-Majeure” means an events beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

If a Force-Majeure situation arises, the Supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by Force-Majeure event.

- Required Technical Specifications

(i) 	General Description

(ii)	Specific details and technical standards

(iii)	Performance Parameters

Supplier confirms compliance with above specifications {In case of deviations supplier to list all such deviations}.

- Failure to Perform: The Purchaser may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, in spite of a 21 day notice given by the Purchaser, without incurring any liability to the Supplier.

NAME OF SUPPLIER________________________________________________

Authorized Signature________________________________________

Place:

Date:

Attachment 1

Technical specification

Lot 1- Portable XRF instrument for metal identification and quantification

| Required by the Purchaser |  | Offered by the Bidder |
| --- | --- | --- |
| Portable XRF instrument for metal identification and quantification | Excitation Source: X ray tube 4W Rh 6-50kV, 5-200 μA Detector: SDD detector type, minimum resolution <145eV Detector protection: The detector protection device should be constructed as a metal mesh placed in front of the beryllium window of detector. The openings on the metal mesh must be less than 0.5 mm in order to prevent the penetration of objects to detector This metal mesh must transmit more than 60% of the sample signal across the entire range of the unit. No need for a configuration change for light elements analysis Collimator Spot size: Choice of 3, 5 or 8 mm before order The device should have a system for precise focusing so that sample is at a distance of 1 cm from the X-ray tube Filter: Five position automatic filter changer Beam path: Air Detectable Elemental Range: Mg-U Sample temperature: work with samples up to 30oC, with the possibility for operation at 50oC with appropriate window Weight: maximum 1.5 kg with battery Dimensions (length x width x height): maximum 25 cm x 28 cm x 9 cm Camera: a built-in camera for precise positioning of the measurement spot Operating temperature: In the range of: -10oC to + 50oC; with IP54 protection Power: Li-ion batteries; AC adapter Display: Touchscreen, integrated color LCD, minimum 9.4 cm (3.7 inch) Data storage: 8GB standard, with the ability to expand to 64GB. Internal memory of a minimum of 8,000 readings with spectra Data transfer: via USB port, Wi-Fi and Bluetooth The software for data transfer to a computer must be delivered with the device The software should enable live spectrum monitoring System protection: Access with Password protection; automatic X-ray stop when missing sample, IR sensor for sample presence detection. Stand: Desktop Stand for measurement on desk Calibration for Rocks and Minerals: Multi - Phase Calibration Package, including Calibration for Research of Rocks and Geological sediments/ Minerals (the main parent materials of soils) Including test sample Soil Calibration: Calibration for Soil Research Including test sample | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |

Lot2

| Requirement form the Purchaser |  | Offered by the Bidder |
| --- | --- | --- |
| RT PCR instrument | RT PCR instrument: 16 wells, 20 µl of reaction volume; Peltier temperature control: when heating: 3° C/s; when cooling: 2° C/s; Thermal uniformity: ± 0.1°C; thermal precision: ± 0.25°C; Excitation: LED; Multiplex detection of targets and internal controls: CMOS; through FAM i VIC channel; Height 160 mm; Diameter 120 mm; Wight cca 2 kg; Electricity usage up to 90W; With no moving parts; The control software is compatible with PC, Mac, via network or via USB drives.. High reproducibility. At least 450 available tests for the detection of human, veterinary pathogens, pathogens in food and water. | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |
| Validation Kit | Validation kit (pack 50 tests). Kit which performs the control of the thermal profile, and the optical performances of the offered RT PCR instrument. | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |
| Lab in a Box DNA/RNA Extraction Equipment | Mini laboratory The content: - magnetic rack for DNA / RNA extraction - 4 pipete with fixed volume (5µl,10µl,200µl,500µl) - one-time extensions for pipete (1x96 sequels volume of 10µl, 1x96 sequels volume of 200µl, 1x96 sequels volume of 500µl) -2 stands for the tube to work (1x96 positions for 1.5 ml tubes and 1x96 positions for tube of 0.5 mL when turned the other way around; 1x96 positions for tubes), - Digital timer | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |
| Various PCR Kits | Kits for the detection of various other pathogens: Pack of 50 tests. Easy to use. Compatibility with the offered RT PCR instrument. Contain: -Mix primer -testing, - RT-specific primers - an internal extraction control (DNA / RNA) - internal control - DNA / RNA free water (DNA, RNA extraction kit x 5, P.MIRABILIS - PCR kit x 3, E.COLI_SPP - PCR kit x 3, E.COLI_0157 - PCR kit x 3, L.MONOCYTOGENES- PCR kit x 3, S.ENTERITICA- PCR kit x 3, B.ABORTUS- PCR kit x 2, S.AUREUS- -PCR kit x 2, LACTOBACILLUS - PCR kit x 2, C.COLI-EASY-PCR x 2, Y.ENTEROCOLITICA- PCR kit x 2) | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |
| Extraction Kit | Kit for the extraction of DNA / RNA: Packaging for 50 isolations. Allows DNA and RNA extraction from a large number of different types of samples (such as meat, fish, water, milk, beer, wine, etc .; whole blood, serum, plasma, saliva, sputum, stool, urine, tissue, etc.) Using a technology with magnetic particles. Compatibility with the offered RT PCR instrument. | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |
| Supporting laboratory equipment | Variable pipette: -pipette with following volume 0.5-10 µl - pipette with following volume 20-200 µl - pipette with following volume 100-1000 µl Mechanical variable volume pipettes are made of autoclaving materials. | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |
| PCR cabinet with the air recirculation and the UV lamp | PCR cabinet with the air recirculation and the UV lamp: Side and front: plexiglass, polymethylmethacrylate Desktop: steel coated with material resistant to chemicals Open UV lamp: 1x25W TUV25WG13 UV-C, a bactericidal effect Type of radiation: UV (ʎ = 253.7 nm), without ozonization The level of UV radiation: 15mW/cm2/sec Timelapse of UV radiation: 0-24 / non stop (increment 1 min) UV recirkulator: 1x25W (efficiency of 99% per hour) Lamp brightness of the desktop: 1 x1 TLD-15W The thickness of the side panel: 4mm The thickness of the upper front panel: 8mm The thickness of the bottom panel: 8mm Optical transmission: 92% UV protection:> 99.90% polymethylmethacrylate Working area: 650x475 mm Security measures: automatic shutdown UV lamp when you open the bottom cover Normal operating voltage: 67W Dimensions: 690 x 535 x 555 mm Weight (net/gross): 23/33 kg | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |
| Spin centrifuge | Mini spin centrifuge with angle rotor: Max. RPM/RCF: 13.500/12.300xg Max. capacity : 12x2 ml Noise level (dB): ≤ 56 Speed ​​acceleration-deceleration: ≤ 12/ ≤ 16 sek Safety cover: Yes Power supply (220V): 110 VA Dimensions (mm): 208x245x145 Weight without rotor(kg): 4,4 | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |
| UV lamp and mobile UV lamp | Mobile UV lamp with stand: The device is suitable for use in medical, scientific research, pharmaceutical and industrial laboratories for sterilizing air Workspace. Power supply：AC220V、50Hz Power：70VA Lamps power：2×30W Timeframe：0-120 min Wave length：253.7nm Intensity of radiation：≥90 μw/cm2 Angle adjustable joint：90°、120°、150° Transport dimensions：1160×410×370mm Mass：cca 18Kg | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |
| Vortex | Vortex: - mixing and resuspension of cells, biological fluids and chemicals. The principle of the eccentric stirring: : + Range of controlling the speed of: 500-3000 RPM Max. time continuous operation: 24h Stirring tube volume: 0,2 to 50ml The maximum mixing volume: 30 ml: The amplitude of agitation: 4mm Overall dimensions: 90x150x80 mm Weight cca 0,8 kg Power consumption / power: 12 V, 320 mA/3,8 V External power supply: input AC 100-240 V; 50/60 Hz; output DC 12 V | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |
| Dry block thermostat with carrier | Dry block thermostat with a carrier for microtubes: Temperature setting: +25°C….+100°C Temperature control range: 5°C above ambient temperature…+100°C Resolution: ±0,1°C The uniformity of the temperature at +37°C: ±0,1°C Setting time: 1 min - 96h/non stop (increment 1 min) Display: LCD,2x16 characters Blocks diameter/depth: 130mm/45 mm Blocks capacity: 24x2/1,5ml+15x0,5ml+10x0,2ml microtubes Dimensions: 210x230x115mm Weight: 2,8kg Operating voltage: 230V,50/60Hz or 120V/50/60Hz Power(230V): 200W (870mA) | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |
| Containers for save storage | Containers for the safe disposal of medical waste: - 0,4 l, polipropilen, autoclaving (up to 134 °C, up to 18min) - 2 l, polipropilen, autoclaving (up to 134 °C, up to 18min) | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |
| Reagans and samples fridge | Laboratory freezer ( -40°C...0°C): - the interior of stainless steel 0H17 (DIN 1.4016) - natural convection of air, - chamber capacity: 130 l - Temperature range: -40 ° C ... 0 ° C - a graphical LCD touchscreen display - Resolution temperature: 0,1 ° C, - 2 shelves with openings - adjustable brackets shelf - The internal memory of the alarms - alarm for door open - lock door | (Bidder to provide name of the offered model with technical specification of offered model for all required items) |

Requirements for Lot 1 and Lot 2: The bidder must possess Manufacturer Authorization for sale and services for all items which price is higher than 5.000 EUR per item.

Installation and training (of at least two working days on the location Tehnopolis - Nikšić, Montenegro) should be included in the price.

Supplier obligations will include training of laboratory staff aimed at achieving proper methodology application regarding the equipment use with transport and accommodation included.