Invitation to Quote (ITQ) - Shopping For Goods

No: MNE-MIDAS-7716- SH-G-12-2.3.4.1

Project Title:	Montenegro Institutional Development and Agricultural Strengthening Project - MIDAS

Date: September 25, 2012

Source of Funding: Loan No 7716 – ME

Contract Ref: MNE-MIDAS-7716- SH-G-12-2.3.4.1

To:

Dear Supplier,

1.	You are invited to submit your price quotation(s) for the supply of the following items:

| No | Item | Quantity |
| --- | --- | --- |
| 1 | Steriliser (Autoclave) | 1 |
| 2 | Steriliser (Dry heat) | 1 |
| 3 | Incubator | 2 |
| 4 | Incubator | 1 |
| 5 | Freezer -80OC | 1 |
| 6 | Refrigerator | 2 |
| 7 | Microbiological Safety Cabinet Class II, Laminar flow | 1 |
| 8 | Portable Temperature Controlled Transport Boxes | 1 |
| 9 | Hot Plate with Stirrer | 2 |
| 10 | Balance, Top Pan – 2 place | 1 |
| 11 | Stainless Steel Electronic Scale Calibration Weights Set | 1 |
| 12 | Analytical-Grade Water Purification System | 1 |
| 13 | UV device (lamp) for airborne disinfection | 2 |
| 14 | Mixer/Stomacher (Lab Blender) | 1 |
| 15 | Membrane Filtration Unit | 1 |
| 16 | Vacuum pump | 1 |
| 17 | Conductivity Meter | 1 |
| 18 | pH Meter | 1 |
| 19 | Pipette (adjustable) | 3 |
| 20 | Pipette (adjustable) | 2 |
| 21 | Pipette (adjustable) | 2 |
| 22 | Pipette (adjustable) | 2 |
| 23 | Pipette (adjustable) | 1 |
| 24 | Pipette (adjustable) | 1 |
| 25 | Pipettor, 5 000 µl | 1 |
| 26 | Pipettor, 1 000 µl | 1 |
| 27 | Pipettor, 500 µl | 1 |
| 28 | Pipettor, 100 µl | 1 |
| 29 | Repeater Pipette | 1 |
| 30 | Electronic pipetting device | 2 |
| 31 | Digital thermometer | 2 |
| 32 | Bacterial colony counter | 2 |

Information on technical specifications and required quantities are attached to this Invitation in Attachment 1 Technical Specification

2.	You must quote for all the items combined under this Invitation.  Price quotations will be evaluated for all the items together and contract awarded to the firm offering the lowest evaluated total cost of all the items.

3.	Your price quotation in the form attached may be submitted by hand, mail, facsimile or electronically at the below address (para 7).

4.        The deadline for receipt of your quotation (s) by the Purchaser at the addressed indicated in this paragraph: October 09, 2012 at 17:00 local time.

5.	Your quotation in duplicate and in English, should be accompanied by adequate technical documentation and catalogue(s) and other printed material or pertinent information for each item quoted, including names and addresses of firms providing service facilities in Montenegro.

6.	Your quotation(s) should be submitted as per the following instructions and in accordance with the attached Contract. The attached Terms and Conditions of Supply is an integral part of the Contract.

(i) PRICES:  The prices should be quoted in EUR for the Total Cost at final destination INSTITUTE OF MARINE BIOLOGY, KOTOR MICROBIOLOGICAL LABORATORY, Dobrota bb, post number 69, 85330 Kotor, which includes all taxes, VAT, customs, duties, inland transportation and insurance, loading and unloading.

(ii) EVALUATION OF QUOTATIONS:  Offers determined to be substantially responsive to the technical specifications will be evaluated by comparison of the total price at final destination as per para. 2 above.

In evaluating the quotations, the Purchaser will determine for each bid the evaluated price by adjusting the price quotation by making any correction for any arithmetical errors as follows:

(a) where there is a discrepancy between amounts in figures and in words, the amount in words will govern;

(b) where is a discrepancy between the unit rate and the line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern;

(c) if a Supplier refuses to accept the correction, his quotation will be rejected.

(iii) AWARD OF PURCHASE ORDER:  The award will be made to the bidder offering the lowest evaluated price and that meets the required standards of technical and financial capabilities.  The successful bidder will sign a Contract as per attached form of contract and terms and conditions of supply.

(iv) VALIDITY OF THE OFFER: Your quotation(s) should be valid for a period of forty five (45) days from the deadline for receipt of quotation(s) indicated in Paragraph 5 of this Invitation to Quote.

7.	Further information can be obtained from address below:

Address: Jovana Tomasevic, bb

(Government´s old building), Office 48

81000 Podgorica, Montenegro

Telephone: +382 20 201 695 
Fax: +382 20 201 698

E-mail: mirko.ljesevic@mif.gov.me

Inspections and Audits

8.1	The Supplier shall carry out all instructions of the Purchaser which comply with the applicable laws where the destination is located.

8.2	 The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 5 Fraud and Corruption of the Form of Contract, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).

Sincerely,

Mirko Ljesevic,

Procurement Officer

TSU

FORM OF CONTRACT

THIS AGREEMENT number MNE-MIDAS-7716- SH-G-12-2.3.4.1 made on _________, ___ 2012, between Ministry of Agriculture and Rural Development, Rimski trg 46, PC vektra, 81000 Podgorica, Montenegro, represented by Mr. Tarzan Milosevic, Minister, (hereinafter called “the Purchaser”), on the one part and  ____________  (hereinafter called “the Supplier”) on the other part.

WHEREAS the Purchaser has invited quotation for Procurement of the equipment for the Accreditation Microbiological Laboratory IMB Kotor to be supplied by Supplier, viz. Contract MNE-MIDAS-7716- SH-G-12-2.3.4.1, (hereinafter called “Contract”) and has accepted the Bid by the Supplier for the supply of goods under Contract at the sum of __________ (___________________________) hereinafter called “the Contract Price”.

NOW THIS AGREEMENT witnessethes as follows:

- The following documents shall be deemed to form and be read and construed as part of this agreement, viz:

- Invitation to Quote; Term and Conditions of Supply, Technical Specification;

- Addendum (if applicable);

- Taking into account payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby concludes an Agreement with the Purchaser to execute and complete the supply of Contract and remedy any defects therein in conformity with the provisions of Contract.

- The Purchaser hereby covenants to pay in consideration of the goods supply and acceptance of Contract and remedying of defects therein, the Contract Price in accordance with Payment Conditions prescribed by Contract.

- Termination

4.1 Termination for Default

### The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate the Contract in whole or in part:

#### if the Supplier fails to deliver any or all of the Goods within the period specified in the Contract, or within any extension thereof granted.

#### if the Supplier fails to perform any other obligation under the Contract; or

#### if the Supplier, in the judgment of the Purchaser has engaged in fraud and corruption, as defined in Clause 5 below, in competing for or in executing the Contract.

(b)	 In the event the Purchaser terminates the Contract in whole or in part, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Related Services similar to those undelivered or not performed and the Supplier shall be liable to the Purchaser for any additional costs for such similar Goods or Related Services.  However, the Supplier shall continue performance of the Contract to the extent not terminated.

4.2	Termination for Insolvency.

### The Purchaser may at any time terminate the Contract by giving notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent.  In such event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy that has accrued or will accrue thereafter to the Purchaser.

4.3	Termination for Convenience.

### The Purchaser, by notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience.  The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.

### The Goods that are complete and ready for shipment within twenty-eight (28) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices.  For the remaining Goods, the Purchaser may elect:

#### to have any portion completed and delivered at the Contract terms and prices; and/or

      - to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Related Services and for materials and parts previously procured by the Supplier

Fraud and Corruption

- If the Purchaser determines that the Supplier and/or any of its personnel, or its agents, or its Subcontractors, consultants, service providers, suppliers and/or their employees has engaged in corrupt, fraudulent, collusive, coercive or obstructive practices (as defined in the prevailing Bank’s sanctions procedures), in competing for or in executing the Contract, then the Purchaser may, after giving 14 days notice to the Supplier, terminate the Supplier's employment under the Contract and cancel the contract, and the provisions of Clause 4 shall apply as if such expulsion had been made under Sub-Clause 4.1.

- Inspections and Audits

6.1 The Supplier shall carry out all instructions of the Purchaser which comply with the applicable laws where the destination is located

The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 5 Fraud and Corruption, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).

| Signature and seal of the Purchaser: FOR AND ON BEHALF OF ### Ministry of Agriculture and Rural Development _______________________ Mr. Tarzan Milosevic, Minister | Signature and seal of the Suppler: FOR AND ON BEHALF OF ____________________________ Name of Authorized Representative |
| --- | --- |

FORM OF QUOTATION

Date__________________

To: Ministry of Finance

Technical Service Unit

ul. Jovana Tomaševića bb

81000 podgorica

e-mail: mirko.ljesevic@mif.gov.me

Telephone: +382 20 201 695

Fax: +382 20 201 698

We offer to execute the Procurement of the equipment for the Accreditation Microbiological Laboratory IMB Kotor in accordance with the Conditions of Contract accompanying this Quotation for the Contract Price of _________________________(amount in words and numbers) (______________) (name of currency)_____________.  We propose to complete the delivery of Goods and provide trainings described in the Contract within a period of ___________________calendar days from the Date of Signing of the Contract.

This Quotations and your written acceptance will constitute a binding Contract between us.  We understand that you are not bound to accept the lowest or any Quotation you receive.

We hereby confirm that this Quotation complies with the Validity of the Quotation required by the proposal documents.

Authorized Signature:

Name and Title of Signatory

Name of Supplier:

Address:

Phone Number:

Fax Number:

Terms and Conditions of Supply

Project Name: Montenegro Institutional Development and Agricultural Strengthening Project - MIDAS

Purchaser: Ministry of Agriculture and Rural Development

Consignee: Institute of Marine Biology, Kotor

- Prices and Schedules for Supply

| No | Item | Quantity | Unit Price (includes all taxes, VAT, customs, duties, inland transportation and insurance) (EUR) | Total Price at final destination (includes all taxes, VAT, customs, duties, inland transportation and insurance) (EUR) | Delivery Date |
| --- | --- | --- | --- | --- | --- |
| a | b | c | d | e=c*d | f |
| 1 | Steriliser (Autoclave) Autoclave (Front Loading), Capacity ≥ 90 liters, Suitable for sterilising solid material, liquids and plastics, of all types, Autoclave chamber constructed of stainless steel. Equipped with a Microprocessor Control for : - Setting of cycle parameters - Storage of sterilisation programmes Programmable sterilisation temperature in the range 100 to ≥134 C (at 0,2 to 2 bar). Media Warming facility Programmable sterilization times in the range 1 to 60 minutes, controlled by microprocessor with control panel. Digital display of sterilisation parameters i.e. temperatures and cycle status. Provided with a suitable recording device to record details of cycle parameters (temperature, pressure, time and operation mode), batch number and operator identification and printer to produce hard copies of the record. Fitted with a safety interlock to prevent operation of the autoclave, unless the door is securely closed. Operator warning i.e. low water level, door open, cycle fault. Voltage in Volts 50 Hz, 380-400. Warranty - 2 year. Bidder has to provide one day training for the autoclave work, for five staff in IBM premises! Bidders have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 1 |  |  | ___ weeks after the date of Contract signature |
| 2 | Steriliser (Dry heat) Stainless steel interior, volume cca. 250 lit., Temperature Range +30OC to +220OC. Electronic control with digital programming and display. Electrical supply 230 V 50 Hz. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. Warranty-2 year. | 1 |  |  | ___ weeks after the date of Contract signature |
| 3 | Incubator Incubator volume cca. 50 lit. Chemical and moisture-resistant chamber. Electronic control with digital programming and display. Digital electronic control continuously displaying chamber temperature Capable of operating in the temperature range ambient +5 °C to ≥ 70 °C. Fitted with inner glass door Fitted with a circulating fan Temperature fluctuation at 37 °C ≤ ± 0.5 °C Temperature Control at 37 °C ≤ ± 0.2 °C Over Temperature safety cut-out. Supplied with a minimum of 2 shelves. Electrical supply 230 V 50 Hz. Warranty – 5 year. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 2 |  |  | ___ weeks after the date of Contract signature |
| 4 | Incubator Incubator volume cca. 100 litre Chemical and moisture-resistant chamber Electronic control with digital programming and display Digital electronic control continuously displaying chamber temperature Capable of operating in the temperature range ambient +5 °C to ≥ 70 °C Fitted with inner glass door Fitted with a circulating fan. Temperature fluctuation at 37 °C ≤ ± 0.5 °C Temperature Control at 37 °C ≤ ± 0.2 °C Over Temperature safety cut-out. Supplied with a minimum of 4 shelves. Electrical supply 230 V 50 Hz. Warranty – 5 year. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 1 |  |  | ___ weeks after the date of Contract signature |
| 5 | Freezer -80OC For storage of reference micro-organisms Chest Freezer, 300 l capacity, fitted with shelves, capable of maintaining a temperature in the range -18 to - 80 °C. Digital temperature control and display alarm system, with chart recorder / data logger. Key lock to secure the freezer lid, removable cleanable air filter. Warranty- 3 year. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 1 |  |  | ___ weeks after the date of Contract signature |
| 6 | Refrigerator Automatic Defrost Capable of maintaining temperatures in the range ≤ 1 °C to 4 °C Electronic Temperature control Visual / Audible temperature alarm Capacity: 300 to 400 litre . Supplied with at least 4 shelves Adjustable shelf height. Fitted with a lockable door. Warranty- 2 year Parts and Labor, 4 year compressor part only. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 2 |  |  | ___ weeks after the date of Contract signature |
| 7 | Microbiological Safety Cabinet Class II, Laminar flow Laminar Air Flow For cultivation and examination of microbes etc. Suitable for use with Class II organisms. Stainless steel working surface for working in the seated position. With leak-tested filters with minimum filtering capacity of 99.999 % for particles with an average diameter of 0,3 µm or larger. HEPA filter. UV illumination for disinfection. Fitted with audible and visible alarms to warn of failure of airflow. Supplied with an electric socket, within the working area Supplied with gas tap and connectors. Approximate size 1300 mm x 1200 mm x 800 mm (width, height, depth) Compiles with and certified to EN 12469. Microprocessor control. Electrical supply 230 V 50 Hz. | 1 |  |  | ___ weeks after the date of Contract signature |
| 8 | Portable Temperature Controlled Transport Boxes For transportation and storage of samples in controlled environment. Powered from a vehicle 12 volt system. Capacity min. 20 lit. Temperature range must include +4OC. | 1 |  |  | ___ weeks after the date of Contract signature |
| 9 | Hot Plate with Stirrer Ceramic heating surface Capable of operating in the temperature range 25 °C to ≥ 300 °C Continuously adjustable stirrer speeds in the range ≤ 80 to ≥ 1200 rpm. Plate diameter: approx 150 mm Each unit is to be supplied with – 12 x PTFE coated magnetic followers of different sizes. Warranty- 2 year. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 2 |  |  | ___ weeks after the date of Contract signature |
| 10 | Balance, Top Pan – 2 place Top Pan Balance Capacity:  2 000 g. Readability: 0.01 g. Tare facility. Digital Display Stainless Steel Weighing pan: rectangular, approx dimensions 200 mm x 200mm. Automatic setting. Weighing range in grammas. Precision + 0,01 g. Warranty- 2 year. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 1 |  |  | ___ weeks after the date of Contract signature |
| 11 | Stainless Steel Electronic Scale Calibration Weights Set With international traceability weight calibration certificate. Set must include weights/mass: 1 mg, 10 mg, 50 mg, 100 mg, 500 mg, 1 g, 10 g, 100 g, 500 g, 1 kg, with all accessories necessary to properly handle and protect weights (handly gloves and protective case). | 1 |  |  | ___ weeks after the date of Contract signature |
| 12 | Analytical-Grade Water Purification System Producing analytical-grade water with resistivity (at 25OC) > 5MΩ. System that purifies water from a pre-purified water source. With applications that require low total organic carbon (TOC) levels T.O.C. < 50 ppb, bacteria < 10 cfu/ml, with reverse osmosis module and with continuously electric regeneration of the module (Milipore Elix technology), capacity min. 10 l/hr, with all necessary consumables for routine working, included with positively charged 0.2 micron sterile filter, installed at the dispense point. Bacterial/biological protection filter that allows system to produce ultrapure water with endotoxin levels of less than 0.001 EU/ml, and For enhanced-organic-removal deionization (DI) “polishing” cartridge. Electrical requirements: 230V / 50 Hz. Warranty- 3 year. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. Bidder have to provide one day training for five staff in IBM premises. | 1 |  |  | ___ weeks after the date of Contract signature |
| 13 | UV device (lamp) for airborne disinfection Provide the elimination of viruses, germs, moulds and spores up to 99,99% in air. High UVC irradiation of the environment air. UV-C germicidal radiation at 254 nm which is isolated inside the device prevents the spreading of the dangerous UV-C rays in the environment. With continuous change of air by the fan/fans. Real capacity of min. 100 m3/h. | 2 |  |  | ___ weeks after the date of Contract signature |
| 14 | Mixer/Stomacher (Lab Blender) For aseptic preparation of samples prior to microbiological examination. Samples blended in sterile bags Capacity ≤ 40 to ≥ 400 mL Samples blended by means of paddles operating to apply controlled pressure to the bag containing the sample and diluent. Supplied with 2,000 sterile bags User-programmable time and speed functions, several paddle speeds and variable time settings from 1 sec. to min. 5 minutes. | 1 |  |  | ___ weeks after the date of Contract signature |
| 15 | Membrane Filtration Unit For use in Microbiological Examination of Water Comprising – Manifold filter holder 6-place, with valves to allow independent control of vacuum applied to each unit. Membrane filter holders for use with membrane filters of diameter 47 mm Funnels with covers, compatible with membrane filter holders and manifold, minimum capacity 300 ml. Constructed of material capable of being sterilised Supplied with 1 000 x Membrane filters of diameter 47 mm and pore size 0.45 µm. | 1 |  |  | ___ weeks after the date of Contract signature |
| 16 | Vacuum pump Maintain continuous vacuum (max 24"Hg from atm) or positive pressure (max 60 psi). 20 lb. unit is portable, quiet, and easy to maintain | 1 |  |  | ___ weeks after the date of Contract signature |
| 17 | Conductivity Meter Suitable for measurement of conductivity in the range ≤ 1 to ≥ 19 µS/cm Resolution ≤ 0.1 µS/cm. Accuracy ≤ ± 2% full scale Temperature Compensation: Automatic or manual Calibration: Automatic or manual Supplied with – Electrode stand Conductivity probe Temperature compensation probe. | 1 |  |  | ___ weeks after the date of Contract signature |
| 18 | pH Meter pH Range: ≤ 0.00 to ≥ 14.00 Resolution: pH – 0.01 Accuracy: ≤ ± 0.02 pH Temperature Compensation: Automatic or manual Calibration: Automatic / manual override Automatic buffer recognition 3 point calibration with possibility of using 1 or 2 points Supplied with – Electrode stand Glass electrode incorporating a pH sensing membrane and internal Ag/AgCl reference electrode Temperature compensation probe. | 1 |  |  | ___ weeks after the date of Contract signature |
| 19 | Pipette (adjustable) 200 - 2000 μL, including 5.000 suitable tips for each pipette | 3 |  |  | ___ weeks after the date of Contract signature |
| 20 | Pipette (adjustable) 2-20 l, including 5.000 suitable tips for each pipette | 2 |  |  | ___ weeks after the date of Contract signature |
| 21 | Pipette (adjustable) 10-100 l, including 5.000 suitable tips for each pipette | 2 |  |  | ___ weeks after the date of Contract signature |
| 22 | Pipette (adjustable) 0,5-10 l, including 5.000 suitable tips for each pipette | 2 |  |  | ___ weeks after the date of Contract signature |
| 23 | Pipette (adjustable) 100-1000 l, including 5.000 suitable tips for pipette | 1 |  |  | ___ weeks after the date of Contract signature |
| 24 | Pipette (adjustable) 500-5000 l, including 5.000 suitable tips for pipette | 1 |  |  | ___ weeks after the date of Contract signature |
| 25 | Pipettor, 5 000 µl Fixed volume to dispense 5 000 µl Inaccuracy -   0,4 % l supplied with 1 000 matched tips | 1 |  |  | ___ weeks after the date of Contract signature |
| 26 | Pipettor, 1 000 µl Fixed volume to dispense 1 000 µl Inaccuracy -   0,4 % l supplied with 1 000 matched tips | 1 |  |  | ___ weeks after the date of Contract signature |
| 27 | Pipettor, 500 µl Fixed volume to dispense 500 µl Inaccuracy -   0,4 % l supplied with 1 000 matched tips | 1 |  |  | ___ weeks after the date of Contract signature |
| 28 | Pipettor, 100 µl Fixed volume to dispense 100 µl Inaccuracy -   0,6 % l supplied with 1 000 matched tips | 1 |  |  | ___ weeks after the date of Contract signature |
| 29 | Repeater Pipette For hend-held dispensing for long series pipetting. Electronics control and dials of different dispensing volumes. Volume of tip min. 1 ml. Dispensing volume must include 30 l. With min. 500 suitable tips for pipette. | 1 |  |  | ___ weeks after the date of Contract signature |
| 30 | Electronic pipetting device Suitable for pipettes of 0,1 ml to min. 25 ml, smooth setting of the pumping efficiency, autoclavable pipette adapters and filter holders, with transformer, wall holder and membrane filters/0.45 μm, including suitable batteries. | 2 |  |  | ___ weeks after the date of Contract signature |
| 31 | Digital thermometer Official calibrated, with international calibration certificate. Measuring range: -50 to +200OC, accuracy: +0,2OC +1 digit, max calibration error +0,5OC, with suitable replacement probe | 2 |  |  | ___ weeks after the date of Contract signature |
| 32 | Bacterial colony counter Directly or indirectly illuminated area for Petri dishes to min. 100 mm Ø, glare-free, frosted glass and clear glass plate with cm2 – and 1/9-cm2 graduation, electric counting and marking felt pen, with standard lens and focusing arm and with all accessories for routine working. | 2 |  |  | ___ weeks after the date of Contract signature |
| TOTAL: |  |  |  |  |  |

Note: In case of discrepancy between unit price and total derived from unit price, the unit price shall prevail.

- Fixed Price:  The prices indicated above are firm and fixed and not subject to any adjustment during contract performance.

- The Purchaser reserves the right at the time of contract finalization to increase or decrease by up to 15% the quantity of goods and services originally specified without any change in unit prices as well as other terms and conditions.

- Delivery Schedule: The delivery and trainings should be completed as per above schedule but not exceeding 42 calendar days from the date of contract signature.

- Insurance: The Goods supplied under the Contract shall be fully insured in a freely convertible currency against loss of damage incidental to manufacture or acquisition, transportation, storage and delivery. The insurance shall be in an amount equal to 110 percent of the total value of the Goods from «Warehouse» to «Warehouse» on «All risks» basis, including «War Risks». The Supplier shall arrange and pay for cargo insurance, naming the Purchaser as the beneficiary.

- Applicable Law: The Contract shall be interpreted in accordance with the laws of the Purchaser's country.

- Resolution of Disputes: The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of a dispute between the Purchaser and the Supplier, the dispute shall be settled in accordance with the country procedures.

- Delivery and Documents: Upon shipment, the Supplier shall notify the Purchaser and the Insurance Company by cable of fax the full details of shipment, including purchase order number, description of goods, quantity, the vessel, the Shipping and Forwarding Receipt from freight Company showing full details, port of loading, date of shipment, port of discharge, etc. The Supplier shall mail the following documents to the Purchaser, with a copy to the Insurance Company:

- copies of the Supplier’s invoice showing goods’ description, quantity, unit price, and total amount;

- duplicate air/ truck transport document and/ or duplicate of railway transport document, and/or duplicate FCR ( Forwarders Certificate of Receipt) in 1 Original and 2 Copies marked «freight prepaid»;

- copies of the packing list identifying contents of each package;

- manufacturer's or supplier's warranty certificate;

- certificate of origin;

- certificate of quality.

The above documents shall be received by the Purchaser at least one week before arrival of the goods at the port of place of arrival and, if not received, the Supplier shall be responsible for any consequent expenses.

9.	Payment for your invoice will be made as follows: 100% on delivery of shipping documents and acceptance of the goods.

- Warranty: Goods offered should be covered by manufacturer’s warranty for:

a) Steriliser (Autoclave), Steriliser (Dry heat), Refrigerator, Hot Plate with Stirrer, Balance, Top Pan – 2 place, two years warranty period;

b) Freezer -80OC, Analytical-Grade Water Purification System, three years warranty period;

c) Incubators – five years warranty period

from the date of delivery to the Purchaser.

The Supplier is obliged to accept the equipment maintenance after the warranty period. The price of the future equipment maintenance is not the part of this Quotation, and it will be the subject of separate contract. System maintaining after warranty period must be in accordance with requirements for system maintaining in warranty period.

## Packaging and Marking Instructions:  The Supplier shall provide standard packing of the Goods as required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract.

- Defects: All defects will be corrected by the Supplier without any cost to the Purchaser within 30 day from the date of notice by Purchaser. Name and address of service facility which the defects are to be corrected by the supplier within the warranty period:

Address

- Force-Majeure:  The supplier shall not be liable for penalties or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force-Majeure.

For purposes of this clause, “Force-Majeure” means an events beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

If a Force-Majeure situation arises, the Supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by Force-Majeure event.

- Required Technical Specifications

(i) 	General Description

(ii)	Specific details and technical standards

(iii)	Performance Parameters

Supplier confirms compliance with above specifications {In case of deviations supplier to list all such deviations}.

- Failure to Perform: The Purchaser may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, in spite of a 21 day notice given by the Purchaser, without incurring any liability to the Supplier.

NAME OF SUPPLIER

Authorized Signature

Place:

Attachment 1

Technical Specification

| No | Item | Quantity | Delivery Date | Offered Equipment | Offered Quantities | Offered delivery schedule |
| --- | --- | --- | --- | --- | --- | --- |
| a | b | c | f |  |  |  |
| 1 | Steriliser (Autoclave) Autoclave (Front Loading), Capacity ≥ 90 liters, Suitable for sterilising solid material, liquids and plastics, of all types, Autoclave chamber constructed of stainless steel. Equipped with a Microprocessor Control for: - Setting of cycle parameters - Storage of sterilisation programmes Programmable sterilisation temperature in the range 100 to ≥134 C (at 0,2 to 2 bar). Media Warming facility Programmable sterilization times in the range 1 to 60 minutes, controlled by microprocessor with control panel. Digital display of sterilisation parameters i.e. temperatures and cycle status. Provided with a suitable recording device to record details of cycle parameters (temperature, pressure, time and operation mode), batch number and operator identification and printer to produce hard copies of the record. Fitted with a safety interlock to prevent operation of the autoclave, unless the door is securely closed. Operator warning i.e. low water level, door open, cycle fault. Voltage in Volts 50 Hz, 380-400. Warranty - 2 year. Bidder has to provide one day training for the autoclave work, for five staff in IBM premises! Bidders have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 2 | Steriliser (Dry heat) Stainless steel interior, volume cca. 250 lit., Temperature Range +30OC to +220OC. Electronic control with digital programming and display. Electrical supply 230 V 50 Hz. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. Warranty-2 year. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 3 | Incubator Incubator volume cca. 50 lit. Chemical and moisture-resistant chamber. Electronic control with digital programming and display. Digital electronic control continuously displaying chamber temperature Capable of operating in the temperature range ambient +5 °C to ≥ 70 °C. Fitted with inner glass door Fitted with a circulating fan Temperature fluctuation at 37 °C ≤ ± 0.5 °C Temperature Control at 37 °C ≤ ± 0.2 °C Over Temperature safety cut-out. Supplied with a minimum of 2 shelves. Electrical supply 230 V 50 Hz. Warranty – 5 year. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 2 | 6 weeks after the date of Contract signature |  |  |  |
| 4 | Incubator Incubator volume cca. 100 litre Chemical and moisture-resistant chamber Electronic control with digital programming and display Digital electronic control continuously displaying chamber temperature Capable of operating in the temperature range ambient +5 °C to ≥ 70 °C Fitted with inner glass door Fitted with a circulating fan. Temperature fluctuation at 37 °C ≤ ± 0.5 °C Temperature Control at 37 °C ≤ ± 0.2 °C Over Temperature safety cut-out. Supplied with a minimum of 4 shelves. Electrical supply 230 V 50 Hz. Warranty – 5 year. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 5 | Freezer -80OC For storage of reference micro-organisms Chest Freezer, 300 l capacity, fitted with shelves, capable of maintaining a temperature in the range -18 to - 80 °C. Digital temperature control and display alarm system, with chart recorder / data logger. Key lock to secure the freezer lid, removable cleanable air filter. Warranty- 3 year. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 6 | Refrigerator Automatic Defrost Capable of maintaining temperatures in the range ≤ 1 °C to 4 °C Electronic Temperature control Visual / Audible temperature alarm Capacity: 300 to 400 litre . Supplied with at least 4 shelves Adjustable shelf height. Fitted with a lockable door. Warranty- 2 year Parts and Labor, 4 year compressor part only. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 2 | 6 weeks after the date of Contract signature |  |  |  |
| 7 | Microbiological Safety Cabinet Class II, Laminar flow Laminar Air Flow For cultivation and examination of microbes etc. Suitable for use with Class II organisms. Stainless steel working surface for working in the seated position. With leak-tested filters with minimum filtering capacity of 99.999 % for particles with an average diameter of 0,3 µm or larger. HEPA filter. UV illumination for disinfection. Fitted with audible and visible alarms to warn of failure of airflow. Supplied with an electric socket, within the working area Supplied with gas tap and connectors. Approximate size 1300 mm x 1200 mm x 800 mm (width, height, depth) Compiles with and certified to EN 12469. Microprocessor control. Electrical supply 230 V 50 Hz. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 8 | Portable Temperature Controlled Transport Boxes For transportation and storage of samples in controlled environment. Powered from a vehicle 12 volt system. Capacity min. 20 lit. Temperature range must include +4OC. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 9 | Hot Plate with Stirrer Ceramic heating surface Capable of operating in the temperature range 25 °C to ≥ 300 °C Continuously adjustable stirrer speeds in the range ≤ 80 to ≥ 1200 rpm. Plate diameter: approx 150 mm Each unit is to be supplied with – 12 x PTFE coated magnetic followers of different sizes. Warranty- 2 year. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 2 | 6 weeks after the date of Contract signature |  |  |  |
| 10 | Balance, Top Pan – 2 place Top Pan Balance Capacity:  2 000 g. Readability: 0.01 g. Tare facility. Digital Display Stainless Steel Weighing pan: rectangular, approx dimensions 200 mm x 200mm. Automatic setting. Weighing range in grammas. Precision + 0,01 g. Warranty- 2 year. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 11 | Stainless Steel Electronic Scale Calibration Weights Set With international traceability weight calibration certificate. Set must include weights/mass: 1 mg, 10 mg, 50 mg, 100 mg, 500 mg, 1 g, 10 g, 100 g, 500 g, 1 kg, with all accessories necessary to properly handle and protect weights (handly gloves and protective case). | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 12 | Analytical-Grade Water Purification System Producing analytical-grade water with resistivity (at 25OC) > 5MΩ. System that purifies water from a pre-purified water source. With applications that require low total organic carbon (TOC) levels T.O.C. < 50 ppb, bacteria < 10 cfu/ml, with reverse osmosis module and with continuously electric regeneration of the module (Milipore Elix technology), capacity min. 10 l/hr, with all necessary consumables for routine working, included with positively charged 0.2 micron sterile filter, installed at the dispense point. Bacterial/biological protection filter that allows system to produce ultrapure water with endotoxin levels of less than 0.001 EU/ml, and For enhanced-organic-removal deionization (DI) “polishing” cartridge. Electrical requirements: 230V / 50 Hz. Warranty- 3 year. Bidder have to identify the names of the closest or local suppliers who will deal with post – sales services, maintenance, etc. Bidder have to provide training for five staff in IBM premises. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 13 | UV device (lamp) for airborne disinfection Provide the elimination of viruses, germs, moulds and spores up to 99,99% in air. High UVC irradiation of the environment air. UV-C germicidal radiation at 254 nm which is isolated inside the device prevents the spreading of the dangerous UV-C rays in the environment. With continuous change of air by the fan/fans. Real capacity of min. 100 m3/h. | 2 | 6 weeks after the date of Contract signature |  |  |  |
| 14 | Mixer/Stomacher (Lab Blender) For aseptic preparation of samples prior to microbiological examination. Samples blended in sterile bags Capacity ≤ 40 to ≥ 400 mL Samples blended by means of paddles operating to apply controlled pressure to the bag containing the sample and diluent. Supplied with 2,000 sterile bags User-programmable time and speed functions, several paddle speeds and variable time settings from 1 sec. to min. 5 minutes. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 15 | Membrane Filtration Unit For use in Microbiological Examination of Water Comprising – Manifold filter holder 6-place, with valves to allow independent control of vacuum applied to each unit. Membrane filter holders for use with membrane filters of diameter 47 mm Funnels with covers, compatible with membrane filter holders and manifold, minimum capacity 300 ml. Constructed of material capable of being sterilised Supplied with 1 000 x Membrane filters of diameter 47 mm and pore size 0.45 µm. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 16 | Vacuum pump Maintain continuous vacuum (max 24"Hg from atm) or positive pressure (max 60 psi). 20 lb. unit is portable, quiet, and easy to maintain | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 17 | Conductivity Meter Suitable for measurement of conductivity in the range ≤ 1 to ≥ 19 µS/cm Resolution ≤ 0.1 µS/cm. Accuracy ≤ ± 2% full scale Temperature Compensation: Automatic or manual Calibration: Automatic or manual Supplied with – Electrode stand Conductivity probe Temperature compensation probe. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 18 | pH Meter pH Range: ≤ 0.00 to ≥ 14.00 Resolution: pH – 0.01 Accuracy: ≤ ± 0.02 pH Temperature Compensation: Automatic or manual Calibration: Automatic / manual override Automatic buffer recognition 3 point calibration with possibility of using 1 or 2 points Supplied with – Electrode stand Glass electrode incorporating a pH sensing membrane and internal Ag/AgCl reference electrode Temperature compensation probe. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 19 | Pipette (adjustable) 200 - 2000 μL, including 5.000 suitable tips for each pipette | 3 | 6 weeks after the date of Contract signature |  |  |  |
| 20 | Pipette (adjustable) 2-20 l, including 5.000 suitable tips for each pipette | 2 | 6 weeks after the date of Contract signature |  |  |  |
| 21 | Pipette (adjustable) 10-100 l, including 5.000 suitable tips for each pipette | 2 | 6 weeks after the date of Contract signature |  |  |  |
| 22 | Pipette (adjustable) 0,5-10 l, including 5.000 suitable tips for each pipette | 2 | 6 weeks after the date of Contract signature |  |  |  |
| 23 | Pipette (adjustable) 100-1000 l, including 5.000 suitable tips for pipette | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 24 | Pipette (adjustable) 500-5000 l, including 5.000 suitable tips for pipette | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 25 | Pipettor, 5 000 µl Fixed volume to dispense 5 000 µl Inaccuracy -   0,4 % l supplied with 1 000 matched tips | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 26 | Pipettor, 1 000 µl Fixed volume to dispense 1 000 µl Inaccuracy -   0,4 % l supplied with 1 000 matched tips | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 27 | Pipettor, 500 µl Fixed volume to dispense 500 µl Inaccuracy -   0,4 % l supplied with 1 000 matched tips | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 28 | Pipettor, 100 µl Fixed volume to dispense 100 µl Inaccuracy -   0,6 % l supplied with 1 000 matched tips | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 29 | Repeater Pipette For hend-held dispensing for long series pipetting. Electronics control and dials of different dispensing volumes. Volume of tip min. 1 ml. Dispensing volume must include 30 l. With min. 500 suitable tips for pipette. | 1 | 6 weeks after the date of Contract signature |  |  |  |
| 30 | Electronic pipetting device Suitable for pipettes of 0,1 ml to min. 25 ml, smooth setting of the pumping efficiency, autoclavable pipette adapters and filter holders, with transformer, wall holder and membrane filters/0.45 μm, including suitable batteries. | 2 | 6 weeks after the date of Contract signature |  |  |  |
| 31 | Digital thermometer Official calibrated, with international calibration certificate. Measuring range: -50 to +200OC, accuracy: +0,2OC +1 digit, max calibration error +0,5OC, with suitable replacement probe | 2 | 6 weeks after the date of Contract signature |  |  |  |
| 32 | Bacterial colony counter Directly or indirectly illuminated area for Petri dishes to min. 100 mm Ø, glare-free, frosted glass and clear glass plate with cm2 – and 1/9-cm2 graduation, electric counting and marking felt pen, with standard lens and focusing arm and with all accessories for routine working. | 2 | 6 weeks after the date of Contract signature |  |  |  |