Invitation to Quote (ITQ) - Shopping For Goods

No: MNE-MIDAS-7716- SH-G-12-2.3.4.1.a

Project Title:	Montenegro Institutional Development and Agricultural Strengthening Project - MIDAS

Date: September 24, 2012

Source of Funding: Loan No 7716 – ME

Contract Ref: MNE-MIDAS-7716- SH-G-12-2.3.4.1.a

To:

Dear Supplier,

1.	You are invited to submit your price quotation(s) for the supply of the following items:

| No | Item | Quantity |
| --- | --- | --- |
| 1 | Sink unit with built-in bowl (bathtubs) and underbench cabinet. Dimensions 150/60/90 cm. | 1 |
| 2 | Laboratory bench. Dimensions 260/80/90cm. | 1 |
| 3 | Laboratory bench. Dimensions 190/60/90 cm. | 1 |
| 4 | Laboratory bench. Dimensions 190/80/90 cm. | 1 |
| 5 | Wall mounted cabinets with 3 full hinged doors and with one internal shelf in each of them. Dimensions 120/45/60 cm. | 1 |
| 6 | Wall mounted cabinets with 7 full hinged doors and with one internal shelf in each of them. Dimensions 280/45/60 cm. | 1 |
| 7 | Laboratory bench. Dimensions 120/45/90 cm. | 1 |
| 8 | Closet with top mounted cabinet. Total dimensions 140/65/250 cm. | 1 |
| 9 | Closet. Dimensions 85/45/160 cm. | 1 |
| 10 | Closet with top mounted cabinet. Total dimensions 130/45/235 cm. | 1 |
| 11 | Closet with top mounted cabinet. Total dimensions 60/35/210 cm. | 1 |
| 12 | Exhibit closet. Dimensions 450/42/240 cm. | 1 |
| 13 | Closet with top mounted cabinet. Total dimensions 160/55/210 cm. | 1 |
| 14 | Built-in closet, just 2 doors with frame and one inner shelf. Dimensions 170/56/94 cm. | 1 |
| 15 | Built-in closet, just 2 full hinged doors with frame and 4 inner shelves. Dimensions 89/63,5/270 cm. | 1 |
| 16 | Sink unit with built-in bowl (bathtub) and underbench cabinet, dimensions 150/60/90 cm. | 1 |
| 17 | Office desk with 3 drawers. Dimensions 140/80/80 cm. | 3 |
| 18 | Stand. Dimensions 480/60/90 cm. | 1 |
| 19 | Stand. Dimensions 190/75/90 cm. | 1 |
| 20 | Open closet with 4 shelves. Dimensions 170/60/150 cm. | 1 |
| 21 | Closet with 4 full hinged doors and 5 inner shelves, dimensions 188/42/214 cm. | 1 |
| 22 | Closet with top mounted cabinet. Total dimensions 100/40/220 cm. | 1 |
| 23 | Sink unit with built-in two-piece bowl (bathtubs) and underbench cabinet, dimensions 150/60/90 cm. | 1 |
| 24 | Stand. Dimensions 290/60/90 cm. | 1 |
| 25 | Closet with top mounted cabinet. Total dimensions 240/42/240 cm. | 1 |
| 26 | Closet with top mounted cabinet. Total dimensions 308/42/240 cm. | 1 |
| 27 | Office desk with 3 drawers. Dimensions 140/80/80 cm. | 1 |
| 28 | Office desk with 3 drawers. Dimensions 130/60/80 cm. | 3 |
| 29 | Office desk with 3 drawers. Dimensions 120/60/90 cm. | 1 |
| 30 | Stand. Dimensions 232/60/85 cm. | 1 |
| 31 | Stand and sink unit. Stand should be made of plastic coated plywood, dimensions 200/60/90 cm | 1 |
| 32 | Wall mounted cabinets with 5 full hinged doors and with one internal shelf in each of them. Dimensions 230/45/140 cm. | 1 |
| 33 | Open shelves without frame. Dimensions 132/42 cm. | 2 |
| 34 | Mobile cupboard with 1 drawer and 1 hinged door with one inner shelf. Dimensions 60/60/70 cm. | 10 |
| 35 | Open shelves without frame. Dimensions 80/40 cm. | 6 |
| 36 | Open shelves without frame. Dimensions 60/40 cm. | 2 |
| 37 | Laboratory chairs with swivel stool, vertically adjustable. | 10 |
| 38 | Wall mounted cabinets with 4 glass hinged doors and with one inner shelf in each of them. Dimensions 160/30/83 cm. | 1 |

Information on technical specifications and required quantities are attached to this Invitation in Attachment 1 Technical Specification

2.	You must quote for all the items combined under this Invitation.  Price quotations will be evaluated for all the items together and contract awarded to the firm offering the lowest evaluated total cost of all the items.

3.	Your price quotation in the form attached may be submitted by hand, mail, facsimile or electronically at the below address (para 7).

4.        The deadline for receipt of your quotation (s) by the Purchaser at the addressed indicated in this paragraph: October 08, 2012 at 17:00 local time.

5.	Your quotation in duplicate and in English, should be accompanied by adequate technical documentation and catalogue(s) and other printed material or pertinent information for each item quoted, including names and addresses of firms providing service facilities in Montenegro.

6.	Your quotation(s) should be submitted as per the following instructions and in accordance with the attached Contract. The attached Terms and Conditions of Supply is an integral part of the Contract.

(i) PRICES:  The prices should be quoted in EUR for the Total Cost at final destination INSTITUTE OF MARINE BIOLOG, KOTOR MICROBIOLOGICAL LABORATORY, Dobrota bb, post number 69, 85330 Kotor, which includes all taxes, VAT, customs, duties, inland transportation and insurance, loading and unloading.

(ii) EVALUATION OF QUOTATIONS:  Offers determined to be substantially responsive to the technical specifications will be evaluated by comparison of the total price at final destination as per para. 2 above.

In evaluating the quotations, the Purchaser will determine for each bid the evaluated price by adjusting the price quotation by making any correction for any arithmetical errors as follows:

(a) where there is a discrepancy between amounts in figures and in words, the amount in words will govern;

(b) where is a discrepancy between the unit rate and the line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern;

(c) if a Supplier refuses to accept the correction, his quotation will be rejected.

(iii) AWARD OF PURCHASE ORDER:  The award will be made to the bidder offering the lowest evaluated price and that meets the required standards of technical and financial capabilities.  The successful bidder will sign a Contract as per attached form of contract and terms and conditions of supply.

(iv) VALIDITY OF THE OFFER: Your quotation(s) should be valid for a period of forty five (45) days from the deadline for receipt of quotation(s) indicated in Paragraph 5 of this Invitation to Quote.

7.	Further information can be obtained from address below:

Address: Jovana Tomasevic, bb

(Government´s old building), Office 48

81000 Podgorica, Montenegro

Telephone: +382 20 201 697 
Fax: +382 20 201 698

E-mail: mirko.ljesevic@mif.gov.me

Inspections and Audits

8.1	The Supplier shall carry out all instructions of the Purchaser which comply with the applicable laws where the destination is located.

8.2	 The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 5 Fraud and Corruption of the Form of Contract, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).

Sincerely,

Mirko Ljesevic,

Procurement Officer

TSU

FORM OF CONTRACT

THIS AGREEMENT number MNE-MIDAS-7716- SH-G-12-2.3.4.1.a made on _________, ___ 2012, between Ministry of Agriculture and Rural Development, Rimski trg 46, PC vektra, 81000 Podgorica, Montenegro, represented by Mr. Tarzan Milosevic, Minister, (hereinafter called “the Purchaser”), on the one part and  ____________  (hereinafter called “the Supplier”) on the other part.

WHEREAS the Purchaser has invited quotation for Procurement of Laboratory furniture for Institute for Marine Biology, Kotor to be supplied by Supplier, viz. Contract MNE-MIDAS-7716- SH-G-12-2.3.4.1.a, (hereinafter called “Contract”) and has accepted the Bid by the Supplier for the supply of goods under Contract at the sum of __________ (___________________________) hereinafter called “the Contract Price”.

NOW THIS AGREEMENT witnessethes as follows:

- The following documents shall be deemed to form and be read and construed as part of this agreement, viz:

- Invitation to Quote; Term and Conditions of Supply, Technical Specification;

- Addendum (if applicable);

- Taking into account payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby concludes an Agreement with the Purchaser to execute and complete the supply of Contract and remedy any defects therein in conformity with the provisions of Contract.

- The Purchaser hereby covenants to pay in consideration of the goods supply and acceptance of Contract and remedying of defects therein, the Contract Price in accordance with Payment Conditions prescribed by Contract.

- Termination

4.1 Termination for Default

### The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate the Contract in whole or in part:

#### if the Supplier fails to deliver any or all of the Goods within the period specified in the Contract, or within any extension thereof granted.

#### if the Supplier fails to perform any other obligation under the Contract; or

#### if the Supplier, in the judgment of the Purchaser has engaged in fraud and corruption, as defined in Clause 5 below, in competing for or in executing the Contract.

(b)	 In the event the Purchaser terminates the Contract in whole or in part, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Related Services similar to those undelivered or not performed and the Supplier shall be liable to the Purchaser for any additional costs for such similar Goods or Related Services.  However, the Supplier shall continue performance of the Contract to the extent not terminated.

4.2	Termination for Insolvency.

### The Purchaser may at any time terminate the Contract by giving notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent.  In such event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy that has accrued or will accrue thereafter to the Purchaser.

4.3	Termination for Convenience.

### The Purchaser, by notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience.  The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.

### The Goods that are complete and ready for shipment within twenty-eight (28) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices.  For the remaining Goods, the Purchaser may elect:

#### to have any portion completed and delivered at the Contract terms and prices; and/or

      - to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Related Services and for materials and parts previously procured by the Supplier

Fraud and Corruption

- If the Purchaser determines that the Supplier and/or any of its personnel, or its agents, or its Subcontractors, consultants, service providers, suppliers and/or their employees has engaged in corrupt, fraudulent, collusive, coercive or obstructive practices (as defined in the prevailing Bank’s sanctions procedures), in competing for or in executing the Contract, then the Purchaser may, after giving 14 days notice to the Supplier, terminate the Supplier's employment under the Contract and cancel the contract, and the provisions of Clause 4 shall apply as if such expulsion had been made under Sub-Clause 4.1.

- Inspections and Audits

6.1 The Supplier shall carry out all instructions of the Purchaser which comply with the applicable laws where the destination is located

The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 5 Fraud and Corruption, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).

| Signature and seal of the Purchaser: FOR AND ON BEHALF OF ### Ministry of Agriculture and Rural Development _______________________ Mr. Tarzan Milosevic, Minister | Signature and seal of the Suppler: FOR AND ON BEHALF OF ____________________________ Name of Authorized Representative |
| --- | --- |

FORM OF QUOTATION

Date__________________

To: Ministry of Finance

Technical Service Unit

ul. Jovana Tomaševića bb

81000 podgorica

e-mail: mirko.ljesevic@mif.gov.me

Telephone: +382 20 201 695

Fax: +382 20 201 698

We offer to execute the Procurement of Laboratory furniture for Institute for Marine Biology, Kotor in accordance with the Conditions of Contract accompanying this Quotation for the Contract Price of _________________________(amount in words and numbers) (______________) (name of currency)_____________.  We propose to complete the delivery of Goods and provide trainings described in the Contract within a period of ___________________calendar days from the Date of Signing of the Contract.

This Quotations and your written acceptance will constitute a binding Contract between us.  We understand that you are not bound to accept the lowest or any Quotation you receive.

We hereby confirm that this Quotation complies with the Validity of the Quotation required by the proposal documents.

Authorized Signature:

Name and Title of Signatory

Name of Supplier:

Address:

Phone Number:

Fax Number:

Terms and Conditions of Supply

Project Name: Montenegro Institutional Development and Agricultural Strengthening Project - MIDAS

Purchaser: Ministry of Agriculture and Rural Development

Consignee: Institute of Marine Biology, Kotor

- Prices and Schedules for Supply

| No | Item | Quantity | Unit Price (includes all taxes, VAT, customs, duties, inland transportation and insurance) (EUR) | Total Price at final destination (includes all taxes, VAT, customs, duties, inland transportation and insurance) (EUR) | OfferedDelivery Date |
| --- | --- | --- | --- | --- | --- |
| a | b | c | d | e=c*d | f |
| MICROBIOLOGY - Room 1 |  |  |  |  |  |
| 1. | Sink unit with built-in bowl (bathtubs) and underbench cabinet, dimensions 150/60/90 cm. Sink worktop dimensions 150/60 cm, with left hand built-in bowl, inner dimensions 60/40/25cm, and draining area. Worktop and bowl are made of stainless steel, corrosion resist and inert to cleaning and sanitizing chemicals. The underbench cabinet is suspended, mounted on stainless steel C-frame with 3 doors made of the plastic coated plywood and with one internal shelf in each of them, in white color. | 1 |  |  | ___ weeks after the date of Contract signature |
| 2. | Laboratory bench. Dimensions 260/80/90cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound. Form of the bases are in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Ceramice, Tile, Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges. | 1 |  |  | ___ weeks after the date of Contract signature |
| 3. | Laboratory bench. Dimensions 190/60/90 cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound. Form of the bases are in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Ceramice, Tile, Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges. | 1 |  |  | ___ weeks after the date of Contract signature |
| 4. | Laboratory bench. Dimensions 190/80/90 cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound.Form of the bases are in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Ceramice, Tile, Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges. | 1 |  |  | ___ weeks after the date of Contract signature |
| 5. | Wall mounted cabinets with 3 full hinged doors and with one internal shelf in each of them. Dimensions 120/45/60 cm. Made of plastic coated plywood, in white color. | 1 |  |  | ___ weeks after the date of Contract signature |
| 6. | Wall mounted cabinets with 7 full hinged doors and with one internal shelf in each of them. Dimensions 280/45/60 cm. Made of plastic coated plywood, in white color. | 1 |  |  | ___ weeks after the date of Contract signature |
| II MICROBIOLOGY - Room 2 |  |  |  |  |  |
| 7. | Laboratory bench. Dimensions 120/45/90 cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound. Form of the bases are in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Ceramice, Tile, Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges. | 1 |  |  | ___ weeks after the date of Contract signature |
| 8. | Closet with top mounted cabinet. Total dimensions 140/65/250 cm. Closet is with 2 full hinged doors, dimensions 140/65/190 cm, with 5 inner shelves. Top mounted cabinet is with 2 full hinged doors, dimensions 140/65/60 cm, with one inner shelf. Both items are made of improved plywood and chipboard, in white color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 |  |  | ___ weeks after the date of Contract signature |
| 9. | Closet. Dimensions 85/45/160 cm. Closet is with 2 full hinged doors, made of improved plywood and chipboard, in white color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 |  |  | ___ weeks after the date of Contract signature |
| 10. | Closet with top mounted cabinet. Total dimensions 130/45/235 cm. Closet is with 2 full hinged doors, dimensions 130/45/180 cm, with 3 inner shelves. Top mounted cabinet is with 2 full hinged doors, dimensions 130/45/55 cm, with one inner shelf. Both items are made of improved plywood and chipboard, in beige color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 |  |  | ___ weeks after the date of Contract signature |
| 11. | Closet with top mounted cabinet. Total dimensions 60/35/210 cm. Closet is with 1 full hinged doors, dimensions 60/35/100 cm, with 3 inner shelves. Top mounted cabinet is with 1 glass hinged doors, dimensions 60/35/110 cm, with 2 inner shelves. Both items are made of improved plywood and chipboard, in beige color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 |  |  | ___ weeks after the date of Contract signature |
| III HALLWAY |  |  |  |  |  |
| 12. | Exhibit closet. Dimensions 450/42/240 cm. Made with 10 full hinged doors in lower part, dimensions 450/42/90 cm with one inner shelf in each of them, and 10 glass hinged doors in upper part, dimensions 450/42/150 cm, with 3 inner shelves in each of them. Made of improved plywood and chipboard, in machogany color. All doors are with a "clap" hinges, opening handles and cilindrical locks. Closets are mounted on a metal legs. | 1 |  |  | ___ weeks after the date of Contract signature |
| 13. | Closet with top mounted cabinet. Total dimensions 160/55/210 cm. Closet is with 3 full hinged doors, dimensions 160/55/150 cm, with 3 inner shelves. Top mounted cabinet is with 3 full hinged doors, dimensions 160/55/60 cm, with one inner shelf. Both items are made of improved plywood and chipboard, in white color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 |  |  | ___ weeks after the date of Contract signature |
| 14. | Built-in closet, just 2 doors with frame and one inner shelf. Dimensions 170/56/94 cm. Made with full hinged doors. Made of improved plywood and chipboard, in white color. | 1 |  |  | ___ weeks after the date of Contract signature |
| 15. | Built-in closet, just 2 full hinged doors with frame and 4 inner shelves. Dimensions 89/63,5/270 cm. Made of improved plywood and chipboard, in white color. | 1 |  |  | ___ weeks after the date of Contract signature |
| IV WASH-ROOM |  |  |  |  |  |
| 16 | Sink unit with built-in bowl (bathtub) and underbench cabinet, dimensions 150/60/90 cm. Sink worktop dimensions 150/60 cm, with right hand built-in bowl, inner dimensions 60/40/25cm, and draining area. Worktop and bowl are made of stainless steel, corrosion resist and inert to cleaning and sanitizing chemicals. The underbench cabinet is suspended, mounted on stainless steel C-frame with 3 full hinged doors made of the plastic coated plywood and with one internal shelf in each of them, in white color. | 1 |  |  | ___ weeks after the date of Contract signature |
| 17 | Office desk with 3 drawers. Dimensions 140/80/80 cm. Made of improved plywood and chipboard, in beige color. All drawers are with opening handles and cilindrical locks. | 3 |  |  | ___ weeks after the date of Contract signature |
| 18 | Stand. Dimensions 480/60/90 cm. Made of plastic coated plywood, in white color. Mounted on "C" or "H" shape frame made from the galvanised and epoxy powder coated steel. | 1 |  |  | ___ weeks after the date of Contract signature |
| 19 | Stand. Dimensions 190/75/90 cm. Made of plastic coated plywood, in white color. Mounted on "C" or "H" shape frame made from the galvanised and epoxy powder coated steel. | 1 |  |  | ___ weeks after the date of Contract signature |
| 20 | Open closet with 4 shelves. Dimensions 170/60/150 cm. Made of improved plywood and chipboard, in white color. | 1 |  |  | ___ weeks after the date of Contract signature |
| 21 | Closet with 4 full hinged doors and 5 inner shelves, dimensions 188/42/214 cm. Closet is made of improved plywood and chipboard, in white color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 |  |  | ___ weeks after the date of Contract signature |
| 22 | Closet with top mounted cabinet. Total dimensions 100/40/220 cm. Closet is with 2 full hinged doors, dimensions 100/40/80 cm, with 2 inner shelves. Top mounted cabinet is with 2 glass hinged doors, dimensions 100/40/140 cm, with 3 inner shelves. Both items are made of improved plywood and chipboard, in mahogany color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 |  |  | ___ weeks after the date of Contract signature |
| V CHEMICAL LABORATORY WITH ADMISSION ROOM |  |  |  |  |  |
| 23 | Sink unit with built-in two-piece bowl (bathtubs) and underbench cabinet, dimensions 150/60/90 cm. Worktop and bowls are made of ceramic. The underbench cabinet is suspended, mounted on stainless steel C-frame with 3 full hinged doors, made of the plastic coated plywood and with one internal shelf in each of them, in white color. | 1 |  |  | ___ weeks after the date of Contract signature |
| 24 | Stand. Dimensions 290/60/90 cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound.Form of the bases is in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Ceramice, Tile, Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges. | 1 |  |  | ___ weeks after the date of Contract signature |
| 25 | Closet with top mounted cabinet. Total dimensions 240/42/240 cm. Closet is with 4 full hinged doors, dimensions 240/42/180 cm, with 4 inner shelves. Top mounted cabinet is with 4 full hinged doors, dimensions 240/42/60 cm, with one inner shelf. Both items are made of improved plywood and chipboard, in white color. All doors are with a "clap" hinges, opening handles and cilindrical locks. Closets are mounted on metal legs. | 1 |  |  | ___ weeks after the date of Contract signature |
| 26 | Closet with top mounted cabinet. Total dimensions 308/42/240 cm. Closet is with 5 full hinged doors, dimensions 308/42/180 cm, with 4 inner shelves. Top mounted cabinet is with 5 full hinged doors, dimensions 308/42/60 cm, with one inner shelf. Both items are made of improved plywood and chipboard, in white color. All doors are with a "clap" hinges, opening handles and cilindrical locks. Closets are mounted on metal legs. | 1 |  |  | ___ weeks after the date of Contract signature |
| 27 | Office desk with 3 drawers. Dimensions 140/80/80 cm. Made of improved plywood and chipboard, in beige color. All drawers are with opening handles and cilindrical locks. | 3 |  |  | ___ weeks after the date of Contract signature |
| 28 | Office desk with 3 drawers. Dimensions 130/60/80 cm. Made of improved plywood and chipboard, in beige color. All drawers are with opening handles and cilindrical locks. | 1 |  |  | ___ weeks after the date of Contract signature |
| 29 | Office desk with 3 drawers. Dimensions 120/60/90 cm. Made of improved plywood and chipboard, in beige color. All drawers are with opening handles and cilindrical locks. | 1 |  |  | ___ weeks after the date of Contract signature |
| 30 | Stand. Dimensions 232/60/85 cm. Made of plastic coated plywood, in white color. Mounted on "C" or "H" shape frame made from the galvanised and epoxy powder coated steel. | 1 |  |  | ___ weeks after the date of Contract signature |
| 31 | Stand and sink unit. Stand should be made of plastic coated plywood, dimensions 200/60/90 cm, in white color, mounted on "C" or "H" shape frame made from the galvanised and epoxy powder coated steel. Sink unit with built-in bowl (bathtubs) and underbench cabinet, dimensions 137/60/90 cm. Sink worktop dimensions 137/60 cm, with central built-in bowl, inner dimensions 60/40/25cm, and draining area. Sink worktop and bowl are made of ceramic. The underbench cabinet is suspended, mounted on stainless steel C-frame with 3 full hinged doors made of the plastic coated plywood and with one internal shelf in each of them, in white color. | 1 |  |  | ___ weeks after the date of Contract signature |
| 32 | Wall mounted cabinets with 5 full hinged doors and with one internal shelf in each of them. Dimensions 230/45/140 cm. Made of plastic coated plywood, in white color. | 1 |  |  | ___ weeks after the date of Contract signature |
| 33 | Open shelves without frame. Dimensions 132/42 cm. Made of improved plywood and chipboard, in white color. | 2 |  |  | ___ weeks after the date of Contract signature |
| 34 | Mobile cupboard with 1 drawer and 1 hinged door with one inner shelf. Dimensions 60/60/70 cm. Made of improved plywood and chipboard, in white color, mounted on wheels. | 10 |  |  | ___ weeks after the date of Contract signature |
| 35 | Open shelves without frame. Dimensions 80/40 cm. Made of improved plywood and chipboard, in beige color. | 6 |  |  | ___ weeks after the date of Contract signature |
| 36 | Open shelves without frame. Dimensions 60/40 cm. Made of improved plywood and chipboard, in beige color. | 2 |  |  | ___ weeks after the date of Contract signature |
| 37 | Laboratory chairs with swivel stool, vertically adjustable. Black material with leatherette cover. Approx. measurements (+/-15%): Back height 53 cm, Back width 44 cm, Depth 44 cm, Adjustable arms, Lumbar support | 10 |  |  | ___ weeks after the date of Contract signature |
| 38 | Wall mounted cabinets with 4 glass hinged doors and with one inner shelf in each of them. Dimensions 160/30/83 cm. Made of improved plywood or plastic coated plywood, in light brown color. | 1 |  |  | ___ weeks after the date of Contract signature |
| TOTAL: |  |  |  |  |  |

Note: In case of discrepancy between unit price and total derived from unit price, the unit price shall prevail.

- Fixed Price:  The prices indicated above are firm and fixed and not subject to any adjustment during contract performance.

- The Purchaser reserves the right at the time of contract finalization to increase or decrease by up to 15% the quantity of goods and services originally specified without any change in unit prices as well as other terms and conditions.

- Delivery Schedule: The delivery and trainings should be completed as per above schedule but not exceeding three weeks from the date of contract signature.

- Insurance: The Goods supplied under the Contract shall be fully insured in a freely convertible currency against loss of damage incidental to manufacture or acquisition, transportation, storage and delivery. The insurance shall be in an amount equal to 110 percent of the total value of the Goods from «Warehouse» to «Warehouse» on «All risks» basis, including «War Risks». The Supplier shall arrange and pay for cargo insurance, naming the Purchaser as the beneficiary.

- Applicable Law: The Contract shall be interpreted in accordance with the laws of the Purchaser's country.

- Resolution of Disputes: The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of a dispute between the Purchaser and the Supplier, the dispute shall be settled in accordance with the country procedures.

- Delivery and Documents: Upon shipment, the Supplier shall notify the Purchaser and the Insurance Company by cable of fax the full details of shipment, including purchase order number, description of goods, quantity, the vessel, the Shipping and Forwarding Receipt from freight Company showing full details, port of loading, date of shipment, port of discharge, etc. The Supplier shall mail the following documents to the Purchaser, with a copy to the Insurance Company:

- copies of the Supplier’s invoice showing goods’ description, quantity, unit price, and total amount;

- duplicate air/ truck transport document and/ or duplicate of railway transport document, and/or duplicate FCR ( Forwarders Certificate of Receipt) in 1 Original and 2 Copies marked «freight prepaid»;

- copies of the packing list identifying contents of each package;

- manufacturer's or supplier's warranty certificate;

- certificate of origin;

- certificate of quality.

The above documents shall be received by the Purchaser at least one week before arrival of the goods at the port of place of arrival and, if not received, the Supplier shall be responsible for any consequent expenses.

9.	Payment for your invoice will be made as follows: 100% on delivery of shipping documents and acceptance of the goods.

- Warranty: Goods offered should be covered by manufacturer’s warranty for manufacturer’s warranty for at least 12 months from the date of delivery to the Purchaser.

## Packaging and Marking Instructions:  The Supplier shall provide standard packing of the Goods as required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract.

- Defects: All defects will be corrected by the Supplier without any cost to the Purchaser within 30 day from the date of notice by Purchaser. Name and address of service facility which the defects are to be corrected by the supplier within the warranty period:

Address

- Force-Majeure:  The supplier shall not be liable for penalties or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force-Majeure.

For purposes of this clause, “Force-Majeure” means an events beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

If a Force-Majeure situation arises, the Supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by Force-Majeure event.

- Required Technical Specifications

(i) 	General Description

(ii)	Specific details and technical standards

(iii)	Performance Parameters

Supplier confirms compliance with above specifications {In case of deviations supplier to list all such deviations}.

- Failure to Perform: The Purchaser may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, in spite of a 21 day notice given by the Purchaser, without incurring any liability to the Supplier.

NAME OF SUPPLIER

Authorized Signature

Place:

Attachment 1

Technical Specification

| Item number | Technical description W/D/H (Width/Depth/High) cm | Quantity | Delivery schedule |
| --- | --- | --- | --- |
| I MICROBIOLOGY - Room 1 |  |  |  |
| 1. | Sink unit with built-in bowl (bathtubs) and underbench cabinet, dimensions 150/60/90 cm. Sink worktop dimensions 150/60 cm, with left hand built-in bowl, inner dimensions 60/40/25cm, and draining area. Worktop and bowl are made of stainless steel, corrosion resist and inert to cleaning and sanitizing chemicals. The underbench cabinet is suspended, mounted on stainless steel C-frame with 3 doors made of the plastic coated plywood and with one internal shelf in each of them, in white color. | 1 | three weeks after signing the Contract |
| 2. | Laboratory bench. Dimensions 260/80/90cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound. Form of the bases are in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Ceramice, Tile, Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges. | 1 | three weeks after signing the Contract |
| 3. | Laboratory bench. Dimensions 190/60/90 cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound. Form of the bases are in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Ceramice, Tile, Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges. | 1 | three weeks after signing the Contract |
| 4. | Laboratory bench. Dimensions 190/80/90 cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound.Form of the bases are in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Ceramice, Tile, Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges. | 1 | three weeks after signing the Contract |
| 5. | Wall mounted cabinets with 3 full hinged doors and with one internal shelf in each of them. Dimensions 120/45/60 cm. Made of plastic coated plywood, in white color. | 1 | three weeks after signing the Contract |
| 6. | Wall mounted cabinets with 7 full hinged doors and with one internal shelf in each of them. Dimensions 280/45/60 cm. Made of plastic coated plywood, in white color. | 1 | three weeks after signing the Contract |
| II MICROBIOLOGY - Room 2 |  |  |  |
| 7. | Laboratory bench. Dimensions 120/45/90 cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound. Form of the bases are in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Ceramice, Tile, Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges. | 1 | three weeks after signing the Contract |
| 8. | Closet with top mounted cabinet. Total dimensions 140/65/250 cm. Closet is with 2 full hinged doors, dimensions 140/65/190 cm, with 5 inner shelves. Top mounted cabinet is with 2 full hinged doors, dimensions 140/65/60 cm, with one inner shelf. Both items are made of improved plywood and chipboard, in white color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 | three weeks after signing the Contract |
| 9. | Closet. Dimensions 85/45/160 cm. Closet is with 2 full hinged doors, made of improved plywood and chipboard, in white color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 | three weeks after signing the Contract |
| 10. | Closet with top mounted cabinet. Total dimensions 130/45/235 cm. Closet is with 2 full hinged doors, dimensions 130/45/180 cm, with 3 inner shelves. Top mounted cabinet is with 2 full hinged doors, dimensions 130/45/55 cm, with one inner shelf. Both items are made of improved plywood and chipboard, in beige color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 | three weeks after signing the Contract |
| 11. | Closet with top mounted cabinet. Total dimensions 60/35/210 cm. Closet is with 1 full hinged doors, dimensions 60/35/100 cm, with 3 inner shelves. Top mounted cabinet is with 1 glass hinged doors, dimensions 60/35/110 cm, with 2 inner shelves. Both items are made of improved plywood and chipboard, in beige color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 | three weeks after signing the Contract |
| III HALLWAY |  |  |  |
| 12. | Exhibit closet. Dimensions 450/42/240 cm. Made with 10 full hinged doors in lower part, dimensions 450/42/90 cm with one inner shelf in each of them, and 10 glass hinged doors in upper part, dimensions 450/42/150 cm, with 3 inner shelves in each of them. Made of improved plywood and chipboard, in machogany color. All doors are with a "clap" hinges, opening handles and cilindrical locks. Closets are mounted on a metal legs. | 1 | three weeks after signing the Contract |
| 13. | Closet with top mounted cabinet. Total dimensions 160/55/210 cm. Closet is with 3 full hinged doors, dimensions 160/55/150 cm, with 3 inner shelves. Top mounted cabinet is with 3 full hinged doors, dimensions 160/55/60 cm, with one inner shelf. Both items are made of improved plywood and chipboard, in white color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 | three weeks after signing the Contract |
| 14. | Built-in closet, just 2 doors with frame and one inner shelf. Dimensions 170/56/94 cm. Made with full hinged doors. Made of improved plywood and chipboard, in white color. | 1 | three weeks after signing the Contract |
| 15. | Built-in closet, just 2 full hinged doors with frame and 4 inner shelves. Dimensions 89/63,5/270 cm. Made of improved plywood and chipboard, in white color. | 1 | three weeks after signing the Contract |
| IV WASH-ROOM |  |  |  |
| 16 | Sink unit with built-in bowl (bathtub) and underbench cabinet, dimensions 150/60/90 cm. Sink worktop dimensions 150/60 cm, with right hand built-in bowl, inner dimensions 60/40/25cm, and draining area. Worktop and bowl are made of stainless steel, corrosion resist and inert to cleaning and sanitizing chemicals. The underbench cabinet is suspended, mounted on stainless steel C-frame with 3 full hinged doors made of the plastic coated plywood and with one internal shelf in each of them, in white color. | 1 | three weeks after signing the Contract |
| 17 | Office desk with 3 drawers. Dimensions 140/80/80 cm. Made of improved plywood and chipboard, in beige color. All drawers are with opening handles and cilindrical locks. | 3 | three weeks after signing the Contract |
| 18 | Stand. Dimensions 480/60/90 cm. Made of plastic coated plywood, in white color. Mounted on "C" or "H" shape frame made from the galvanised and epoxy powder coated steel. | 1 | three weeks after signing the Contract |
| 19 | Stand. Dimensions 190/75/90 cm. Made of plastic coated plywood, in white color. Mounted on "C" or "H" shape frame made from the galvanised and epoxy powder coated steel. | 1 | three weeks after signing the Contract |
| 20 | Open closet with 4 shelves. Dimensions 170/60/150 cm. Made of improved plywood and chipboard, in white color. | 1 | three weeks after signing the Contract |
| 21 | Closet with 4 full hinged doors and 5 inner shelves, dimensions 188/42/214 cm. Closet is made of improved plywood and chipboard, in white color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 | three weeks after signing the Contract |
| 22 | Closet with top mounted cabinet. Total dimensions 100/40/220 cm. Closet is with 2 full hinged doors, dimensions 100/40/80 cm, with 2 inner shelves. Top mounted cabinet is with 2 glass hinged doors, dimensions 100/40/140 cm, with 3 inner shelves. Both items are made of improved plywood and chipboard, in mahogany color. All doors are with a "clap" hinges, opening handles and cilindrical locks. | 1 | three weeks after signing the Contract |
| V CHEMICAL LABORATORY WITH ADMISSION ROOM |  |  |  |
| 23 | Sink unit with built-in two-piece bowl (bathtubs) and underbench cabinet, dimensions 150/60/90 cm. Worktop and bowls are made of ceramic. The underbench cabinet is suspended, mounted on stainless steel C-frame with 3 full hinged doors, made of the plastic coated plywood and with one internal shelf in each of them, in white color. | 1 | three weeks after signing the Contract |
| 24 | Stand. Dimensions 290/60/90 cm. Load carrying structure (frame) is made of steel tubes welded into a solid compound.Form of the bases are in "C" or "H" shape easels. Frame is made from the galvanised and epoxy powder coated steel. Stability of pedestal must be achieved by leveling the base easels. Worktop surface is made of the Ceramice, Tile, Melamine laminate top resist or Epoxy resin material. Worktop surface should be in white color, with smooth surfaces including seams, corners and edges. | 1 | three weeks after signing the Contract |
| 25 | Closet with top mounted cabinet. Total dimensions 240/42/240 cm. Closet is with 4 full hinged doors, dimensions 240/42/180 cm, with 4 inner shelves. Top mounted cabinet is with 4 full hinged doors, dimensions 240/42/60 cm, with one inner shelf. Both items are made of improved plywood and chipboard, in white color. All doors are with a "clap" hinges, opening handles and cilindrical locks. Closets are mounted on a metal legs. | 1 | three weeks after signing the Contract |
| 26 | Closet with top mounted cabinet. Total dimensions 308/42/240 cm. Closet is with 5 full hinged doors, dimensions 308/42/180 cm, with 4 inner shelves. Top mounted cabinet is with 5 full hinged doors, dimensions 308/42/60 cm, with one inner shelf. Both items are made of improved plywood and chipboard, in white color. All doors are with a "clap" hinges, opening handles and cilindrical locks. Closets are mounted on a metal legs. | 1 | three weeks after signing the Contract |
| 27 | Office desk with 3 drawers. Dimensions 140/80/80 cm. Made of improved plywood and chipboard, in beige color. All drawers are with opening handles and cilindrical locks. | 3 | three weeks after signing the Contract |
| 28 | Office desk with 3 drawers. Dimensions 130/60/80 cm. Made of improved plywood and chipboard, in beige color. All drawers are with opening handles and cilindrical locks. | 1 | three weeks after signing the Contract |
| 29 | Office desk with 3 drawers. Dimensions 120/60/90 cm. Made of improved plywood and chipboard, in beige color. All drawers are with opening handles and cilindrical locks. | 1 | three weeks after signing the Contract |
| 30 | Stand. Dimensions 232/60/85 cm. Made of plastic coated plywood, in white color. Mounted on "C" or "H" shape frame made from the galvanised and epoxy powder coated steel. | 1 | three weeks after signing the Contract |
| 31 | Stand and sink unit. Stand should be made of plastic coated plywood, dimensions 200/60/90 cm, in white color, mounted on "C" or "H" shape frame made from the galvanised and epoxy powder coated steel. Sink unit with built-in bowl (bathtubs) and underbench cabinet, dimensions 137/60/90 cm. Sink worktop dimensions 137/60 cm, with central built-in bowl, inner dimensions 60/40/25cm, and draining area. Sink worktop and bowl are made of ceramic. The underbench cabinet is suspended, mounted on stainless steel C-frame with 3 full hinged doors made of the plastic coated plywood and with one internal shelf in each of them, in white color. | 1 | three weeks after signing the Contract |
| 32 | Wall mounted cabinets with 5 full hinged doors and with one internal shelf in each of them. Dimensions 230/45/140 cm. Made of plastic coated plywood, in white color. | 1 | three weeks after signing the Contract |
| 33 | Open shelves without frame. Dimensions 132/42 cm. Made of improved plywood and chipboard, in white color. | 2 | three weeks after signing the Contract |
| 34 | Mobile cupboard with 1 drawer and 1 hinged door with one inner shelf. Dimensions 60/60/70 cm. Made of improved plywood and chipboard, in white color, mounted on wheels. | 10 | three weeks after signing the Contract |
| 35 | Open shelves without frame. Dimensions 80/40 cm. Made of improved plywood and chipboard, in beige color. | 6 | three weeks after signing the Contract |
| 36 | Open shelves without frame. Dimensions 60/40 cm. Made of improved plywood and chipboard, in beige color. | 2 | three weeks after signing the Contract |
| 37 | Laboratory chairs with swivel stool, vertically adjustable. Black material with leatherette cover. Approx. measurements (+/-15%): Back height 53 cm, Back width 44 cm, Depth 44 cm, Adjustable arms, Lumbar support | 10 | three weeks after signing the Contract |
| 38 | Wall mounted cabinets with 4 glass hinged doors and with one inner shelf in each of them. Dimensions 160/30/83 cm. Made of improved plywood or plastic coated plywood, in light brown color. | 1 | three weeks after signing the Contract |